COLLEGE OF ENGINEERING AND TECHNOLOGY

TECHNO CAMPUS, KALINGA NAGAR,

GHATIKIA, BHUBANESWAR-751029

(A Constituent college of BPUT)

**Letter No. 1021 /CET dated: 14 /03 /2016**

**SHORT QUOTATION CALL NOTICE**

Sealed quotations are invited from registered **Vendors/Contractors** having valid **VAT/TIN/PAN/Registration documents** for construction of PCC bed for machines (details mentioned below) of Power Electronics & Drives Lab and Electrical Machines Lab of Electrical Engineering department.

|  |  |
| --- | --- |
| **POWER ELECTRONICS & DRIVES LAB** | |
| **PCC (M20 grade) bed for Machine Size (Length×Breadth×Height)** | **Quantity** |
| **2 ft × 16 inch × 1ft 6 inch** | **03 Nos** |
| **2 ft × 2 ft × 1ft 6 inch** | **01 No** |
| **3 ft** **× 2 ft 4 inch × 1ft 6 inch** | **01 No** |
| **Height raise by 4 inch of existing bed (46 inch × 22 inch × 14 inch)** | **01 No** |
| **Height raise by 4 inch of existing bed (26 inch × 19 inch × 14 inch)** | **01 No** |
| **8 inch nut and bolt(size 15)** | **28** |

|  |  |
| --- | --- |
| **ELECTRICAL MACHINES LAB** | |
| **PCC (M20 grade) bed for Machine Size (Length×Breadth×Height)** | **Quantity** |
| **3 ft 6 inch× 2 ft × 1ft 6 inch** | **05 Nos** |
| **2 ft × 2 ft × 1ft 6 inch** | **03 Nos** |
| **Fixing of panels** | **06 Nos** |
| **8 inch nut and bolt(size 15)** | **32** |

The Vendors are required to submit the offer including raw materials, labour, transportation etc. and taxes (if any) in INR values along with the **VAT/TIN/PAN** and **Civil Contractor License** for doing Civil engineering work. The vendors should write quotations for **“Construction of PCC bed for Machine of Power Electronics & Drives Lab and Electrical Machine Lab.”** in bold letters on covered envelops. The firm should not be black listed during last three financial years.

The last date submission of quotations is **23/03/2016** up to 3.00 PM addressing to the **Principal, College of Engineering and Technology, Techno Campus, Mahalaxmi Vihar, Ghatikia, Bhubaneswar-29** by speed post/Registered post/Courier only. No hand delivery is accepted. The authority will not responsible for any postal delay Quotation received after the scheduled date and time will not be accepted.

The authority reserves the right to reject/cancel the quotations in whole or in part without assigning any reason thereof. The construction has to be completed within 15 days of receiving the work order. Payment will be made after successful construction of machine beds duly certified by competent authority.

Sd/-

PRINCIPAL