**QUOTATION CALL NOTICE**

Sealed quotations are invited from registered Suppliers/Agencies/Farms having valid GSTIN, PAN for supply and installation of Submersible water pump set (7.5 HP) in the bore well existed at KCHR Ladies Hostel College of Engineering and Technology, Techno campus, Ghatikia, Mahalaxmivihar, Bhubaneswar as per the specifications given below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sl. No** | **Name of work** | **Quantity** | **Unit Price without GST** | **GST %** | **Unit Price with GST** | **Total Amount** |
| **1.** | Submersible water pump set (7.5 HP)  **Specifications:**  Make:Texmo Industries/ Kirloskar / Crompton Greaves /LUBY  Delivery Dia- 65 mm  Motor: Star Delta (Double wire)  Head- 37 to 70 meter  Discharge: 10.5 LPS to 3.5LPS  Product: ISI Certified  Warranty – 02 minimum years. | 01 No. |  |  |  |  |

The cost of the above mentioned item should be quoted mentioning **make, model number and detailed technical specification.** The intenders are required to submit the offer along with PAN, GSTIN Registration certificates and documents supporting that the supplier is an Authorized Dealer. The Firms/Agencies/Suppliers should super scribe quotation for “Supply and installation of Submersible water pump set (7.5 HP)**” for Ladies Hostel KCHR, inside CET Campus, CET Bhubaneswar”** in bold letters on covered envelopes. The firm should not be black listed. The quotation received after due date will not be entertained. The intenders should quote Unit Price including Installation charges and GST or any other taxes mentioning the same separately.

The last date submission of quotations is **05.03.2019 up to 4.00 PM** addressing to the **Principal, College of Engineering and Technology, Techno Campus, P.O. Mahalaxmivihar, Bhubaneswar- 751029** by **Speed post/Registered post only**. No hand delivery is accepted. The authority will not responsible for any postal delay. The quotations will not be received after scheduled date and time. The authority reserves the right to reject any or all quotations without assigning any reason thereof. Suitable penalty will be imposed in case of delay in supply, delivery and installation.

**Sd/-**

**Warden, LHs**