Quotation Call Notice

Sealed quotations are invited from registered Firms/ Authorised Dealer/ Distributors/ Traders having valid GSTIN, PAN and Authorized License for supply and installation Purchase of 4 Nos. CCTV Camera, Fingerprint Access Control & Door locker security sssystem at COE-AI lab of College of Engineering and Technology, Techno-campus, Ghatikia, Mahalaxmivihar, Bhubaneswar as per the specifications given below.

| SL No. | DESCRIPTION | UNIT | QTY. |
| --- | --- | --- | --- |
| 01. | 2MP Dome Camera | nos | 02 |
| 02. | 2MP Bullet Camera | nos | 02 |
| 03. | DC connector | nos | 04 |
| 04. | Video Balun | nos | 08 |
| 05. | CCTV Cable | Mtrs | Lump sum |
| 06. | 4/4 PVC Back Box | nos | 10 |
| 07. | HDMI Cable 10Mtrs | nos | 01 |
| 08. | Wireless Optical Mouse | nos | 01 |
| 09. | Electrical Accessories- Materials: Casing & Capping, Casing Pins, C Clamp, Flexible, PVC Tape, Tie, 3 Pin Socket, Drill Bit, Screw & Grips. | nos | Lump sum |
| 10. | Biometric Access Control ESSL F22, (MASTER READER FOR ACCESS, CONTROL), Fingerprint/Card Capacity : 3000 ,ESSL F12 (SLAVE READER FOR ACCESSCONTROL), L-Bracket For Wooden Door, EM Lock 600, LBS(Imported), ERD 12v AC Adapter. | nos | 02 |

Terms and Conditions.

- The rate Quoted should be inclusive of all packing & delivery for COE-AI Lab at CET, Bhubaneswar.

- Delivery of materials and Installation of the same in COE-AI Lab should be made within period or two weeks from the date of receiving the purchase order.

- The firm should not be black listed during last three financial years.

- The Comprehensive warranty period must be One year.

- A suitable penalty amount will be imposed if the items supplied, fitted and commissioned are not fully completed within the stipulated time.

The intenders are required to submit the offer enclosing up to date GSTIN, PAN along with their quotations. In top of the envelope should write “Quotations for COE-AI LAB” in bold letters on covered envelops. The intenders should quote price including GST and any other taxes, mentioning the same separately. The work will be allotted on turn-key basis.

The last date for submission of quotations is 30.03.2020 and it will be opened on next day at 03.00 PM. The quotations should be addressed to the Principal, College of Engineering and Technology, Techno Campus, P.O. Mahalaxmivihar, Bhubaneswar- 751029 by Speed post/Registered post only. No hand delivery/Courier is accepted. The authority will not be responsible for any postal delay. The quotations will not be received after scheduled date and time.   The authority reserves the right to reject any or all quotations without assigning any reason thereof.

Sd/-

PRINCIPAL