COLLEGE OF ENGINEERING AND TECHNOLOGY

TECHNO CAMPUS, MAHALAXMI VIHAR, BHUBANESWAR-751029

(A Constituent college of BPUT)

Letter No.  4075 /CET                                                                  dated26.11.16

QUOTATION CALL NOTICE

Sealed quotations are invited from manufacturers/authorized  dealers/distributors for the following items of the chemistry department:

| Sl. No. | Technical Specifications | Qty of basins (approx.) | Cost per unit basin fittings in Rs. |
| --- | --- | --- | --- |
| 1 | Supply and fixing of PH items for the basins in the laboratories of the chemistry department for making the working tables functional and it is to be on turnkey basis. PH fittings per basin (approximately) (a) waste pipe -1 no.; (b) stock cup – 2nos.; (c) ¾” elbow – 2nos.; (d) ¾” T – 1 no; (e) connect pipes ; (f) ¾” pipe 2 mtr (approx.); (g) gum CPVC ; (h) ¾” ½ Brass Elbow -2 nos. Fittings are to be acid and alkali resistant. The PH fixures are to be of Jaguar or equivalent make and the ¾” pipes be Astral cPVC or equivalent make. | 44 nos. |  |

The bidder may visit the laboratories to access the PH fixtures and contact HOD, Chemistry before submission of the quotation. The sealed quotation must reach in the office of the undersigned by Dt.08.12.16 (1.00PM) and it will be opened on same day i.e. on 08.12.2016 at 3.30PM. Cost should specify the basic price and taxes etc. separately. Delivery of item will be made at chemistry department of CET Campus at the cost of supplier.  Price should be quoted including supply of items as above including fixing on turnkey basis and with transportation and all taxes in INR values.

Dealers are requested to furnish their STCC/ITCC clearances/VAT/TIN/PAN, etc. and authorized dealership certificate. The sealed quotation will be received by Speed Post/ Registered post/ Courier only. No hand delivery will be accepted. The authority is not responsible for any postal delay. Quotation received after the scheduled date and time will not be accepted.

The authority reserves the right to reject/cancel  the  quotations in whole or in part without assigning any reason thereof. The quotations must specify the delivery time. Payment will be made after successful supply of items duly certified by competent authority.

Sd/-

PRINCIPAL