**Quotation Call Notice**

Sealed quotations are invited from authorized Electrical Contractor or equivalent Firms/Agencies having valid **VAT/TIN/PAN/Registration documents for** supply and install the following items in Central Computer Laboratory-II managed by IT Department as specified below:

|  |  |
| --- | --- |
| **Item with Specification** | **Quantity** |
| Electrolyte Copper plate Sensitive earthing with excavation of earth pit in all types of soil and Rock of minimum size 4ft X 4ft X 11ft with 600mm X 600mm Electrolyte Copper plate and ISI marked GI pipe of size 1.5” X 10’ long , filling of charcoal, salt and addition of graphite as per suitability. Supply fixing, laying undergrounding of 19 mm X 3mm copper flat from copper plate to top of the earthpit with brass or copper nutbolt and washer etc. The earthing points should be bounded with 4’X4’X3’ bricks wall for identification in future. | **2 Nos** |
| Supply , fixing, laying, undergrounding of No.8 copper conductor from earth pit to 2nd floor UPS Bus-Bar complete with all fittings. | **60’**  **(Approximately)** |

The cost of the above mentioned items should be quoted individually. The Warranty period of the above item should be minimum one year from the date of successful installation and performance. The intenders are required to submit the offer along with the VAT/TIN/PAN/Registration certificates. The Electrical Contractor or equivalent Firms/Agencies should write quotations for **“Supply / installation and excavation of Electrolyte Copper Plate sensitive earthing in Central Computer Laboratory-II Department, CET, BBSR”** in bold letters on covered envelops. The firm should not be black listed during last three financial years.

The last date submission of quotations is **22/12/2016** up to 3.00 PM addressing to the **Principal, College of Engineering and Technology, Techno Campus, Mahalaxmi Vihar, Ghatikia, Bhubaneswar-29** by speed post/Registered post/Courier only. No hand delivery is accepted. The authority will not responsible for any postal delay.

The authority reserves the right to reject any or all quotations without assigning any reason thereof.

Sd/-

Principal