**ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH**

**Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,**

**BHUBANESWAR-751029, ODISHA**

Ref. No. 554/( Civil)/OUTR Date: 21.02.2024

**TENDER CALL NOTICE**

Sealed tenders are invited under one bid system from reputed Original Equipment Manufacturers (OEM)/Registered Firms/Authorised Dealers/Agencies for Supply, installation and commissioning of “Laboratory Equipments” to the **Environmental Engineering Laboratory, Department of Civil Engineering, School of Infrastructure and Planning, OUTR, Bhubaneswar** The tender bid documents with other details are to be downloaded from the university website: **www.outr.ac.in** w.e.f 19.02.24. **The last date of tender submission is 11.03.2024 by 3:00P.M.** The sealed tender will be received by speed post/registered post and courier only. **The authority will not be held responsible for any postal delay.** Tender received after the scheduled date and time will not be accepted. The authority reserves the right to reject/cancel the tenders in whole or in part without assigning any reason thereof.

**Sd/-**

**REGISTRAR**

**BID Ref No.** 554 /(Civil)/OUTR Date: 21.02.2024

**BID PARTICULARS AND INSTRUCTIONS OF TENDER CALL NOTICE**

**FOR SUPPLY, INSTALLATION AND COMMISSIONING OF**

**“LABORATORY EQUIPMENTS”**

**AT**

**DEPARTMENT OF CIVIL**

**SCHOOL OF INFRASTRUCTURE AND PLANNING, OUTR**

****

|  |
| --- |
| **ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH (OUTR)**  **Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,**  **BHUBANESWAR-751029, ODISHA** |

**INVITATION FOR BIDS**

The Registrar,Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha invites sealed tenders from reputed Original Equipment Manufacturers (OEM)/Suppliers/Agencies for supply, installation, commissioning and testing ofLaboratory Equipments at **Environmental Engineering Laboratory,Department of Civil Engineering, School of Infrastructure and Planning, OUTR, Bhubaneswar**Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha.

Interested eligible Bidders may obtain detail information and list of items with technical specifications from **the website of the University** [**www.**](http://www.nitdgp.ac.in)**outr.ac.in**

Particulars about submission of bidding documents are as follows:

(a) Price of bidding document (non-refundable):Rs.2000/-+Rs. 360/- (18% GST) = Rs. 2360/-

(b) EMD (Bid Security) : Rs. 8,000/-

(c) Date of availability of Bidding Document in the website: **19.02.2024 to 11.03.2024**

(d) Last date and time for submission of bids **: 11.03.2024 upto 3:00 p.m.**

(e)Time and date of opening of bids : 11**.03.2024at 4:00 p.m**.

(f) **Place of opening of bids:** Office Chamber of the Head of School of Infrastructure and Planning, Department of Civil Engineering, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha

### (g) Address for communication : The Registrar, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha

### (h) For any Technical Enquiry please contact to Mrs. Rosalin Dalai, Assistant Professor, Department of Civil Engineering, and Contact. No. 9437585643, Email. rosalince@outr.ac.in

**Sd/-**

**REGISTRAR**

### Eligibility of bidders and General Instructions:

### 1.1 Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

1. The bidder must be a reputed **OEM** manufacturer and/or the Authorized Dealer/Supplier of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities**.**
2. If the bidder is an Authorized Dealer of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.
3. The bidder must have both sales and service center with qualified Service Engineers. All after sales support should be provided directly by the manufacturer only.
4. The bidder must have the willingness for providing comprehensive maintenance support of the Equipment supplied by him.
5. The bidder must provide evidence of successful execution of supply orders with installation and successful after sales support in reputed organizations
6. The bidder must have GSTIN No. and Income Tax Return up-to- date. Attested copies of GSTIN Certificate or non-assessment certificate from the concerned Authority valid up-to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up-to-dateand/or PAN Number must be enclosed along with the Tender documents.

### 2. General Instructions:

The bidders who are **Original Equipment Manufacturers (OEM)** of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants. Registered Firms/Authorized Dealers/Agencies can supply the product with necessary Authorized certificates/documents of the Manufacturers for specified brand and model.

The selection for procurement of equipment will be based on quality and performance along with cost. In this context decision of technical committee is final based on documentary evidence or actual physical verification.

The tenders will be opened on **11.03.2024 at 4 PM**in presence of the bidders or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular bidder under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenders would be rejected or contract cancelled and earnest money deposited will be forfeited.

The bidders should mention the location of its service center nearest to Bhubaneswar in their tender paper.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, delivery period and after-sale-service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased on illegible specifications and rates will be rejected.

Request from bidder in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid will not be considered. However, negotiation may be made before finalization.

Bidder shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

If a bidder finds discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the bidder to ask for time beyond the due date fixed for receipt of tenders.

Submission of sealed bid will carry with the implication that the bidder agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, bidders and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the bidders either in writing or through personal contact as may be necessary.

The bidder will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the bidder is liable to be disqualified.

### 2.1 Procedure for Submission of Tenders:

a) The Bidders must submit their bids as required in a sealed coversuper-scribed as “**Technical Bid**” and “**Financial Bid**” and also indicating on the cover the “**Tender call Notice Number & Date**” and **Due date and time** as mentioned in Tender Call Notice.

All the documents in details of technical specifications, leaflet, Copy of Firm Registration Certificate from the competent authorities, GSTIN certificate, Income Tax Clearance, PAN Card copy, list of clients, authorization certificate from Manufacturer in case of Dealer, etc. and the **tender document duly signed** by the authorized person in each page shall be enclosed along with the Financial Bid.

The cover must contain the requisite EMD &Tender paper cost (separately in the form of DD drawn in favour of The Registrar, Odisha University of Technology and Research Bhubaneswar at any Scheduled Bank payable at Bhubaneswar) and sealed. The sealed cover containing tender documents as per procedure indicated above should be submitted by Speed post / Registered Post/ Courier addressing to The Registrar, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, P.O. : Mahalaxmivihar, Bhubaneswar-751029, Odisha within the due date and time as stipulated in Tender. No hand delivery is accepted.

The sealed envelope must show the name of the bidder and his address and should be super-scribed as "Tender for Environmental Engineering Laboratory, Department of Civil Engineering, School of Infrastructure and Planning, OUTR, Bhubaneswar with Reference No. and Date"on the top of the envelope.

**c)** All the documents submitted must be in the papers showing signature of the bidder and official seal.

**d)** All the documents must be submitted in a **sequential manner** with **separator/flags** to help in quick scanning of the topics. Wherever possible, data in tabular form should be given.

### 3. Requirements by Bidder before Supply:

### Rating Plate, Name Plate and Labels:

Each of the equipment is to have permanently attached to it, a rating plate of non-corrosive material in a conspicuous position, upon which the total specifications along with the manufacturer’s name, address, etc. are to be engraved.

### Packaging:

All the equipment are to be suitably protected, covered in water–proof packing and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Requirements by Bidder after Supply:

### Supply:

The Equipment should be delivered and installed by the supplier at Environmental Engineering Laboratory Department of Civil Engineering, School of Infrastructure and Planning, Odisha University of Technology and Research (OUTR), Techno Campus, Ghatikia, PO: Mahalaxmivihar, Bhubaneswar – 751029, Odisha.

The equipment should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the equipment, shall be supplied by the bidder at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complaint.

The articles ordered must be supplied in one lot within 6 weeks from the date of placing the purchase order.

In case of delay in delivery or successful installation, commission & testing of any goods a penalty of 1% (one per cent) per month or part thereof to maximum 5% of the value of undelivered goods, unsuccessful installation, commission & testing of any goods.

Odisha University of Technology and Research (OUTR) reserves the right to procure the materials from alternative sources at the risk and cost of the successful bidder giving 15 days of notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the equipment supplied by the supplier are found not up to the specifications shall be rejected.

The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 15 days, failing which the EMD will be invoked in addition to taking legal actions.

The equipment shall be delivered and installed on site at the cost of the bidder.

All taxes, levies, and handling freight and insurance should be paid and handled by the bidder.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

1. Installation, testing and commissioning of the Equipment, Machineries etc. should be done by the bidder/supplier.
2. It will be the responsibility of the bidder to provide all necessary spares and consumables, which may be required during installation and commissioning at no extra cost to purchaser.
3. The bidder is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.
4. Installation must be complete within 15 days of delivery on site.
5. The bidders should provide all necessary raw materials for running of the equipment/machine during commissioning.

### Documentation:

Detailed technical manuals, handbooks, drawings, warranty card and factory quality assurance checklist, test results and any other certifications mentioned in the technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and system safety procedures.

For Experimental setup details of theory, procedure and methods of taking measurements etc**.** should be provided in the form of hand books for each experiment in duplicate.

The receipts for taxes paid, if any, for the supplied materials should also be submitted.

### Trial Operation and Performance Guarantee Test:

After successful completion of installation, testing and commissioning of the equipment, a seven day continuous trial operation putting those on optimum use shall be conducted by the bidder at site, during which the performance of the equipment shall be demonstrated for trouble-free continuous operation, meeting the specified standards.

During trial operation, bidder shall do all necessary adjustments required to ensure the performance as per the acceptable level.

In case, guaranteed performance is not established, the bidder shall be given opportunity to rectify/replace the equipment/components, and restart the 7 days continuous trial operation, at the risk and cost of the bidder.

### On-Site Warranty:

a) The entire materials may be used continuously. The reliability and safety of the total installed system and trouble-free operation are, therefore, of prime importance. The supplied devices/equipment and components shall be covered under **two-years** comprehensive on-site warranty from the date of installation.

b) During the period of warranty, it shall be the responsibility of the bidder to provide all essential spares and consumables, which may be required for maintenance and trouble-free operation of the devices / components at the bidder’s cost.

### After Sales Service:

During the warranty period the bidder shall attend to the problems reported by the users of OUTR on a priority basis.

For any problem reported, the bidder shall attend and rectify the problem within 7 (seven) days or provide a standby system of the similar configuration.

The report on any problem will be informed through mail/telephonic of which shall be given by the bidder.

The branch office of the concerned manufacturing firm will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the bidder

On failure to comply with those instructions, the security deposited will be forfeited and the Bank Guarantee provided for the warranty period shall be invoked.

### Financial Terms:

### Tender Fee: The tender fee of Rs. 2,360/- (Rupees Two Thousand Three hundred sixty only) in form of DD/ Banker’s cheque issued in favour of the Registrar, The Odisha University of Technology and Research drawn at any scheduled bank payable at Bhubaneswar is non-refundable.

### EMD: The bidder has to submit Rs. 8,000/- (Rupees Eight Thousand only) in the form of Demand Draft/Banker’s Cheque/Pay Order for Bid security (EMD) in favour of Registrar, The Odisha University of Technology and Research payable at Bhubaneswar in any Scheduled Bank. Without EMD and Tender Paper cost the tender will be summarily rejected.

The bid is to be accompanied with BID Security (EMD), (Except MSM Enterprises enclosing the certificate to that effect) for Rs. 8000/- (Rupees Eight Thousand only). The bid security will be forfeited if the bidder withdraws during the bid validity period. The bid security will be returned to the unsuccessful bidder without any interest after the award of the contract. The EMD will be returned to successful bidder without interest subject to adjustment of deduction of university due if any after submission of performance security deposit.

### 5.2 Performance Security Deposit

The successful Bidder has to deposit Performance Security Deposit@ 5% of purchase order value and will be refunded after expiry of stipulated warranty period. The performance security deposit may be submitted in DD/ PBG.

### Prices:

Price quoted should be **FOR Odisha University of Technology and Research (OUTR), Bhubaneswar.** Tax components as applicable should be mentioned clearly in the financial bid.Price should be quoted for unit item.

* 1. **Payments:**

Payment will be released through bank transfer (RTGS) after successful installation, testing and commissioning of the equipment subject to submission of satisfactory performance report by the Head of School of Infrastructure and Planning, OUTR, Bhubaneswar and submission of Tax invoice.

* 1. **Penalty:**

If the delivery and installation is not done as per the purchase order, Liquidated damage at the rate of 1% of the value of undelivered goods per month or part thereof subject to a maximum 5% of the value of undelivered/ uninstalled goods will be recovered from the firm.

* 1. **Solving Disputes:**

In the event of any dispute arising out of the bid or from the resultant contract, the decision of Honorable Vice Chancellor, OUTR, Bhubaneswar shall be Final.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

***The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order***.

***Sign on each page of this tender document and Return it along with the offer enclosing this part together with the Technical Offer.***

***\*\*\* The OUTRauthority has all rights to accept or reject any/all tender without assigning any reasons thereof.***

1. **Technical Specifications :**

Following are the minimum specifications of the equipment.

**List of E*quipment with Technical Specifications.***

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl. No.** | **Name of Equipment** | **Specifications** | **Qnty.**  **required** |
| 1 | **Sound Level Meter:** | Compliant with IEC61672 and ANSI S 1.4 (Class 1) with Simultaneous measurement of A, C, Z frequency weightings including measurement with Fast, Slow, and Impulse time weightings. Measure Peak along with displaying Lp, Leq, Ln, Lmax, Lmin, Peak, RMS, SD having programmable Integration time from 1s to 24 hrs with 4 GB memory and RS 32 PC interface. | 01 No. |
| 2 | **Portable Microprocessor Based Water Soil Analysis Kit:** | for application in water and soil testing having battery backup of 1100 Hours, Digital display, USB Interface, for a pH range of 0-14, operable at a power supply of 230 V +/- 50 AC and temperature upto 100°C. | 01 No. |
| 3 | **Precision Gold Balance with Glass Windshield:** | Capacity of 600g with a readability at 0.01 g (10 mg) and repeatability of 0.01 g with an Automatic External calibration. | 01 No. |
| 4 | **Combined Magnetic stirrer with hot plate:**  **Mixer stir bars,10nos.** | Having suitability for stirring and mixing solutions, with a stirring capacity of 2 L, operable at a temperature range of 0-250°C. Top plate material preferably should be of stainless steel. | 01 No. |
| 5 | **Orbital Shaker:** | compliant with a frequency of 50 Hz. Should be able to maintain a temperature Uniformity of ±0.5°C having a shaking speed of 50-300 rpm and shaking orbit of 10 to 30 mm. | 01 No. |
| 6 | **Combined Air Sampler: Particle Size:**  **Filter Media Disc, 47 mm, 100 nos.** | Omni-directional air inlet with PM 10 separation through an impactor followed by PM 2.5 separation through a WINS Impactor. Should have sampling rate of 1m3/hr. unaffected by voltage fluctuation and filterChoking maintained by critical orifice system.  Filter Media should be compatible with any standard 47 mm diameter filter media.  Sample Volume: Fitting 2Nos. of Dry Gas meter records the total air volume sampled for PM10 & PM2.5. | 01 No. |

**ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH**

**Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,**

**BHUBANESWAR-751029, ODISHA**

**Website: www.outr.ac.in**

**TECHNICAL BID**

(To be enclosed in separate sealed cover)

Name and address of the bidder:

Note: Two Nos. of DD for EMD and Tender paper cost should be enclosed with this bid separately as mentioned in para 5.1 of tender paper

1. Details of the bidder :
   1. Full Name and postal address :
   2. Telephone number/Mobile No.:
   3. Mail ID:
2. Monthly supply capacity of goods quoted for
   1. Normal
   2. Maximum
3. Total annual turn-over(value in Rupees)(Previous year)

(Copy of Balance Sheet / Audit Statement / IT returns, etc. to be attached as proof)

1. Past supply details for 3 years (Attach proof)
2. Bank Details:
3. Beneficiary Name:
4. Bank Name:
5. Branch Name:
6. Account Number:
7. IFSC Code.
8. **Deposit of EMD BID No- Date- Amount-**
9. **Deposit of Tender paper cost BID No- Date- Amount-**

**Customer** **Quantity supplied** **Year**

1. **PAN No:**
2. **GSTIN No:**
3. Whether similar job work undertaken in the past, if so details.

**Signature with Seal of the Bidder**

****

**ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH**

**Techno Campus, Ghatikia, P.O. - Mahalaxmivihar,**

**BHUBANESWAR-751029, ODISHA**

**Website: www.outr.ac.in**

**FINANCIAL BID**

**(To be enclosed in separate sealed cover)**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sl. No | Name of Equipment | Unit | Quantity | Unit Cost | GST % & Cost | Total  amount Including GST |
| 1 | **Sound Level Meter:** | No. | 01 |  |  |  |
| 2 | **Portable Microprocessor Based Water Soil Analysis Kit:** | No. | 01 |  |  |  |
| 3 | **Precision Gold Balance with Glass Windshield:** | No. | 01 |  |  |  |
| 4 | **Combined Magnetic stirrer with hot plate:**  **Mixer stir bars, 10nos.** | No. | 01 |  |  |  |
| 5 | **Orbital Shaker:** | No. | 01 |  |  |  |
| 6 | **Combined Air Sampler: Particle Size:**  **Filter Media Disc, 47 mm, 100 nos.** | No. | 01 |  |  |  |
| TOTAL AMOUNT  RUPEES | | | |  |  |  |

**Signature with Seal of the Bidder**

# PROFORMA FOR SUBMITTING ELIGIBILITY REQUIREMENT AND UNDERTAKING

**To**

**The Registrar,**

**Odisha University of Technology and Research (OUTR)**

**Techno Campus, Ghatikia, P.O.:Mahalaxmivihar,**

**Bhubaneswar-751029, Odisha**

**Sub: Submission of Tender for “Supply, Installation & Commissioning of “Laboratory Equipments” of department of Civil Engineering under School of Infrastructure and Planning, OUTR, Bhubaneswar.**

Sir / Madam,

Having examined the conditions of contract and specifications including agenda, I/we, the undersigned, offer to undertake Supply, Installation, Testing & Commissioning of above mentioned items at Department Civil Engineering under School of Infrastructure and Planning, OUTR, Bhubaneswar, in conformity with the specifications, terms & conditions of Tender.

i) I/We agree to abide by the terms and provisions of the said conditions of the contract and provisions contained in the notice inviting tender. I/We hereby unconditionally accept(s) the tender conditions.

It is certified that I/we have not stipulated any condition(s) in our tender offer. In case any condition(s) are found in our tender offer violated after opening tender, I/We agree that the tender shall be rejected without prejudice to any other right or remedy be at liberty to forfeit the EMD absolutely.

ii) I/We hereby submit the Tender cost of [INR…………..……….……] for the above Tender in the form of demand draft.

iii) I/We hereby submit the earnest money of [INR…………..……….……] for the above Tender in the form of demand draft.

iv) That, I/We declare that I/We have not paid and shall not pay any bribe to any officer of OUTR for awarding this contract at any stage during its execution or at the time of payment of bills, and further if any officer of OUTR asks for bribe/gratification, I/We shall immediately report it to the OUTR Authorities.

v) That, I/We undertake that OUTR tender document shall form part of contract agreement.

I/We understand that you are not bound to accept the lowest or any bid, you shall receive.

Thanking you

Yours faithfully

Signature of Bidder Date:

Witness:

Name: Signature:

Address: Address:

Mobile No.: Mobile No.:

Enclosures: