**ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH**

**(Formerly COLLEGE OF ENGINEERING & TECHNOLOGY)**

**DEPARTMENT OF ELECTRONICS & INSTRUMENTATION ENGINEERING**

**Techno Campus, P.O.: Mahalaxmivihar,**

**BHUBANESWAR -751029, INDIA**

**NAAC ‘A’**

**No. 664 /E&I, Dated:**04.01.2022

**QUOTATION CALL NOTICE**

Sealed quotations are invited from registered Firms/Authorized Dealers/Distributors/ Traders having valid GSTIN, PAN for the supply of 3½ Digital Multimeter at Electronics & Instrumentation Engineering Department of **Odisha University of Technology and Research, (Formerly College of Engineering & Technology),**Techno-campus, Ghatikia, Mahalaxmivihar, Bhubaneswar as per the specifications given below:

|  |  |  |
| --- | --- | --- |
| **Sl.** | **Particulars of item** | **Quantity** |
| **1.** | **Digital Multimeter (Make- Aplab/ Tesca/ Meco/Fluke)**AC volts 400 mV to 1000V, DC volts 400 mV to 1000v, Diode test² 2V, Resistance Ω 4 Ω to 4 MΩ, Capacitance 40nF to1000μF, AC current 40 mA 10A, DC current 40 mA 10A Warranty: 1 Year. | 30 Nos |

**Terms and Conditions.**

1. The participating firm can visit the site and discuss within 10 days of this notification.
2. The rate quoted should be inclusive of all packing, delivery and fitting at Electronics & instrumentation Engineering Department, OUTR, BBSR.
3. The rate quoted must be firm and the offers made must remain for acceptance.
4. Delivery of materials and installation of the same in Electronics & Instrumentation Engineering department should be made within a period or two weeks from the date of communication of acceptance letter.
5. It will be the responsibility of the firm to provide necessary spares/ consumable which may be required during the installation at their own cost.
6. The firm should not be black listed during last three financial years.
7. The comprehensive warranty period must be specified.
8. A suitable penalty amount will be imposed if the items supply, fitted and commissioning are not fully completed within the stipulated time.

The intenders are required to submit the offer enclosing upto-date GSTIN, PAN along with authorized license with their quotations. The registered contractors should write **“Quotations for Electronics & Instrumentation Engineering Department”** in bold letters on covered envelops. The intenders should quote price including GST and any other taxes, mentioning the same separately. The order will be allotted on turn-key basis.

The last date for submission of quotations is **\_20\_01.2022** and it will be opened on next day at 03.00 PM. The quotations should be addressed to the Principal, **Odisha University of Technology and Research, (Formerly College of Engineering & Technology),** Techno Campus, P.O. Mahalaxmivihar, Bhubaneswar- 751029by **Speed post/ Registered post only**. **No hand delivery/ Courier** will be accepted.

The quotations will not be received after scheduled date and time. The authority reserves the right to reject any or all quotations without assigning any reason thereof.

 -Sd/-

**Head of Department**

**Electronics & Instrumentation Engineering**