**Quotation Call Notice**

Sealed quotations are invited from registered firms/original Manufacturers/Distributers/Traders/ Authorized dealers having GSTIN, PAN for Supply & Installation of lab equipment for the Research Lab to execute SERB/DST Odisha projects of the Department of Biotechnology, Odisha University of Technology and Research (Formerly College of Engineering and Technology, Bhubaneswar), Techno campus, Ghatikia, MahalaxmiVihar, Bhubaneswar- 751029, as per the specifications given below:

|  |  |  |
| --- | --- | --- |
| **Sl No** | **Particulars of Items** | **Quantity** |
| 1 | **Dry bath incubator:** * Temperature Setting Range +250C to +600C
* Temperature Control Range 50C above ambient to 600C
* Temperature Setting Resolution 0.10C or better
* Temperature Stability +/- 0.20C or better
* Temperature Units Centigrate (0C), Kelvi (K), Farenheit (0F)
* Digital Time setting 1 min to 99 hrs 59 mins or non stop
* Display 16x2 LCD
* Number of slots 2 Microtitre plates
* Dimensions 23Lx23Wx7.5H cm
* Power consumption <50 Watt
* Operating Voltage AC 220V/60Hz
* Weight Max 4kg
 | 1 No |
| 2 | **Precession Balance with Hood:** * Capacity (G):120- 220
* Resolution (G): 0.0001
* PAN (mm): http://www.kinglab.in/wp-content/uploads/2018/06/ico.png90
* Repeatability (G): ± 0.0001
* Linearity (G): ±0.0002
* Response Time: <3 Sec
* Support: Weighing, Counting, Percentage, Animal Weighing
* User selectable filter, stability indicator and auto-zero tracking for use in difficult environment.
* Large, Sturdy and nearly frameless, all-glass draft shield chamber for optimal viewing of weighing chamber.
* Backlit, High contrast display with 15mm digits
* Strong anti-shaking monolithic electromagnetic for highest accuracy
 | 1 No |

**Terms and Conditions.**

1. The participating firm can visit the lab site and discuss within 10 days of this notification.
2. The rate Quoted should be inclusive of all packing, delivery and fitting at Biotechnology Department, OUTR, BBSR.
3. The rate Quoted must be firm and the offers made must remain for acceptance.
4. Delivery of materials and installation of the same in Biotechnology department should be made within period or two weeks from the date of communication acceptance letter.
5. It will be responsibility of firm to provide necessary spares/ consumable which may be required during the installation at their own cost.
6. The firm should not be black listed during last three financial years.
7. The comprehensive warranty period must be specified.
8. A suitable penalty amount will be imposed if the items supplied, fitted and commissioned are not fully completed within the stipulated time.

The intenders are required to submit the offer enclosing upto-date GSTIN, PAN along with authorized license with their quotations. The registered contractors should write **“Quotations for Biotechnology Department”** in bold letters on covered envelops. The intenders should quote price including GST and any other taxes, mentioning the same separately. The work will be allotted on turn-key basis.

The last date for submission of quotations is **19.04.2022** and it will be opened on next day at 03.00 PM. The quotations should be addressed to the **Principal, CET Bhubaneswar (Odisha University of Technology and Research), Techno Campus, P.O. Mahalaxmivihar, Bhubaneswar- 751029**, Odisha by **Speed post/ Registered post only**. **No hand delivery/ Courier** are accepted. The quotations will not be received after scheduled date and time. The authority reserves the right to reject any or all quotations without assigning any reason thereof.

**Sd/-**

**HOD, Biotechnology**