**ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH**

**Techno Campus, Ghatikia, P.O.-Mahalaxmi vihar, Bhubaneswar -751029**

**Phone: 0674-2386075 Fax: 0674-2386182**

**\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**No. 40 / Library Dated:** 12.4.2022

**QUOTATION CALL NOTICE**

Sealed quotations are invited from registered Firms/Agencies/Suppliers having valid PAN/GSTIN/Registration documents for electrical wiring of the Reading Room (A-105 with the following materials as specified below

|  |  |  |  |
| --- | --- | --- | --- |
| Sl No | Items | Specifications | Quantity |
| 1 | Switch | 16 amp | 16 |
| 2 | Socket (Pluck) | 06 amp | 32 |
| 3 | PVC Board for fitting |  | 16 |
| 04 | Round pipe wire | Provision of C clip | As per actual |
| 05 | Wire for running | 6 sq mm | 1 coil |
| 06 | Wire for board wiring | 2/2.5 sq mm | 1 coil |
| 07 | Wire for earthing | 1.5 sq. mm | 1 coil |

**Terms and Conditions.**

1. The cost of the above-mentioned items should be quoted mentioning make, model number and detailed technical specification
2. The rate Quoted should be inclusive of all packing & delivery charges.
3. The Firms/Agencies/Suppliers should superscribe “**Quotations for** S**upply of material required for Electrical wiring of the Reading Room (A-105) of Central Library, OUTR Bhubaneswar,”** in bold letters on covered envelopes.
4. The rate Quoted must be firm and the offers made must remain for acceptance.
5. Delivery of materials and installation of the same in OUTR, Library should be made within the specific period or two weeks from the date of communication of the acceptance letter.
6. It will be the responsibility of tenderer to provide necessary spares consumables which may be required during the installation at his own cost.
7. The supplied materials shall be covered under two years or more comprehensive on side warranty period from the date of installation.
8. The intenders are required to submit the offer along with PAN/GSTIN/Registration certificates.
9. The firm should not be black listed during last three financial years.

The last date of submission of quotation is **30.04.2022** **up to 3.00 PM** addressing to the **OSD, Odisha University ot Technology and Research, Techno Campus, Kalinga Nagar, Ghatikia, Bhubaneswar-751029** by Speed post/Registered post only. No hand or courier delivery will be accepted. The authority will not be responsible for any postal delay. Quotation received after the scheduled date and time will not be accepted.

The under signed has the right to accept or reject any or all of the quotations without assigning any reason thereof.

**Sd/-**

**PIC, LIBRARY**