Ref. No.        EE/ FIST/14	                                                                 Date: / 27  /  06 /2022

Quotation Call Notice

Sealed quotations are invited from registered suppliers/firms having valid GSTIN, PAN and Authorized License for Supply of following Items   to Principal Investigator, FIST( Type-0)  Project   of Odisha University of Technology & Research, Techno Campus, Ghatikia, Mahalaxmivihar, Bhubaneswar as per the specifications given below.

| Sl. No. | Particulars of item | Quantity |
| --- | --- | --- |
| 01 | Filter set with study table Filter 1 : Diameter (mm): 25.00 +0.0/-0.1,Center Wavelength CWL (nm):450.00 ±2.0 Full Width-Half Max FWHM (nm):10.00 ±2.0,Minimum Transmission (%):≥85 Optical Density OD (Average):≥4.0, Coating: Hard Coated Blocking Wavelength Range (nm):200 – 1200, Clear Aperture CA (mm):21.0 Surface Quality:80-50, Angle of Incidence (°):0 Construction: Mounted in Black Anodized Ring,Mount Thickness (mm): 5.0 ±0.1 Substrate Thickness (mm): 3.5 ±0.5 typical, Type: Bandpass Filter Filter 2 : Diameter (mm): 25.00 +0.0/-0.1 , Center Wavelength CWL (nm):620.00 ±2.0 Full Width-Half Max FWHM (nm):10.00 ±2.0 ,Minimum Transmission (%):≥85 Optical Density OD (Average):≥4.0 ‘ Coating: Hard Coated Blocking Wavelength Range (nm):200 - 1200 ,Clear Aperture CA (mm):21.0 Surface Quality:80-50 , Angle of Incidence (°):0 Construction: Mounted in Black Anodized Ring , Mount Thickness (mm): 5.0 ±0.1 Substrate Thickness (mm): 3.5 ±0.5 typical , Type: Bandpass Filter Study Table(The size of Table : 1500mm x 750mm x 800 mm ( Length x breadth x height) with 3 numbers of 15 A Socket with Switch Suitable for experiments | 1 units |

Terms and Conditions.

- The rate quoted should be inclusive of all delivery& installation for FIST Project, OUTR Bhubaneswar.

- The rate quoted must be firm and the offers made must remain for acceptance.

- Delivery of materials and installation of the same in Electrical Engineering Department should be made within period of Eight weeks from the date of communication acceptance letter.

- It will be responsibility of firm to provide necessary spares/ consumable which may be required during the installation at their own cost.

- The firm should not be black listed during last three financial years.

- The Comprehensive warranty period must be specified.

- A suitable penalty amount @1%  will be imposed if the items supplied, fitted and commissioned are not fully completed within the stipulated time.

The intenders are required to submit the offer enclosing up-to-date GSTIN, PAN along with authorized license with their quotations. The registered suppliers should write “Supply of Filter Set with Study table to Principal Investigator, FIST( Type-0) Project  ” in bold letters on covered envelops. The intenders should quote price including GST and any other taxes, mentioning the same separately.

The last date for submission of quotations is  25   -    07  -2022 (4:00 PM) and it will be opened on next working day at 11:00AM. The quotations should be addressed to the OSD, Odisha University of Technology & Research, Techno Campus, P.O. Mahalaxmivihar, Bhubaneswar- 751029 by Speed post/Registered post only. No hand delivery/Courier is accepted. The authority will not responsible for any postal delay. The quotations will not be received after scheduled date and time.   The authority reserves the right to reject any or all quotations without assigning any reason thereof.

Sd/-

Principal Investigator, FIST Project

Copy forwarded : 	Institute  Notice Board, Institute  website, PA to OSD, In-charge Internet, PIC CPC, Convener CPC for information and necessary action.