BID PARTICULARS AND INSTRUCTIONS

FOR

TENDER CALL NOTICE

FOR THE SUPPLY OF

#### EQUIPEMENTS AND INSTRUMENTS

FOR

DEPARTMENT OF ELECTRICAL ENGINEERING

COLLEGE OF ENGINEERING AND TECHNOLOGY

(A Constituent College of Biju Patnaik University of Technology)

Techno Campus, Kalinga Nagar, Bhubaneswar – 751 003

DETAILED PARTICULARS AND INSTRUCTIONS FOR TENDER FOR PURCHASE OF EQUIPEMENTS AND INSTRUMENTS

FOR

Department of Electrical Engineering

College of Engineering and Technology, BPUT, Bhubaneswar – 751003

Sealed Tenders are invited from reputed Original Equipment Manufacturers (OEM)/Authorized Dealers, for supply of  Equipments and Instruments for the Various Laboratories of the Department of Electrical Engineering, College of Engineering and Technology (CET), BPUT, Techno Campus, Kalinga Nagar, Bhubaneswar – 751003, Odisha.

### Scheduled Tender Activity for Purchase of Equipments and Instruments:

| Sl. No. | Activity | Date |
| --- | --- | --- |
| 1 | Tender Document Issue | From 21/02/2013 to 14-03-2013(9.00A.M to 1.00 P.M. on all working days) |
| 2. | Last Date for Submission of Tender | 15/ 03/ 2013 up to 2.00 PM |
| 3. | Opening of Tender | 16/03 /2013 at 11.00 AM |

Commercial bid & Technical bid must be enclosed separately.

### Eligibility of Tenderer and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the Tender.

- The Tenderer must be a reputed OEM manufacturer and/or the Authorized Dealer of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities.

- If the Tenderer is an Authorized Dealer of a reputed manufacturer, necessary certificate to this effect from his manufacturer must be enclosed.

- The Tenderer must have both sales and service center with qualified Service Engineers. All after sales support should be provided directly by the manufacturer only.

- The Tenderer must have the willingness for providing comprehensive maintenance support of the Hardware supplied by him.

- The Tenderer must provide evidence of successful execution of supply orders with installation and successful after sales support in reputed organizations.

- The Tenderer must have cleared Sales Tax and Income Tax payment up to date. Attested copies of Sales Tax Clearance Certificate or non-assessment certificate from the concerned Sales Tax Authority valid up to date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up to date or PAN Number must be enclosed along with the Tender documents.

### General Instructions:

The Tenderer(s), who are the Original Equipment Manufacturers (OEM)/ Authorized Dealers of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants.

The Tenders will be opened on 16/03/2013 at 11.00 AM in presence of the Tenderer(s) or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular Tenderer under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the Tenders submitted by such Tenderer/s would be rejected or contract cancelled and earnest money deposited will be forfeited.

All offers should be in English and the price quoted for each item should be firm.

Warranty period, Delivery period and After-Sale-Service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the Tender and no change or alteration of the rate will be acceptable on any account.

Submitted Tender forms with overwriting or erased or illegible specifications and rates will be rejected.

Request from Tenderer in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Tenderer(s) shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a Tenderer find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the Tenderer to ask for time beyond the due date fixed for receipt of Tenders.

The Tenderer must also specify minimum uptime and maximum time to repair/replace in the event of a failure and penalty there of.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the Tenderer agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While Tenders are under consideration, Tenderer(s) and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the Tenders under study.

The purchaser, if necessary, will obtain clarification on Tenders by requesting such information from any or all the Tenderer(s) either in writing or through personal contact as may be necessary.

The Tenderer will not be permitted to change the substance of his offer after the Tenders have been opened.

In the event of non-compliance with this provision, the Tenderer is liable to be disqualified.

### Submission of Tenders:

#### The sealed envelope must show the name of the Tenderer and his address and should be super scribed as “Equipment and Instruments for Electrical Engineering Laboratory” on the top of the envelope.

All the documents submitted must be in the papers showing signature of the Tenderer and printed office name of the Tenderer on official seal.

All the documents must be submitted in a sequential manner with separator/flags to help in quick scanning of the topics.

Wherever possible, data in tabular form should be given.

Cost-benefit / break-even analysis should be supported in graphical and tabular form to give quick view and supported with description or details.

The Tenders should be submitted in the office of the Principal, College of Engineering & Technology, Bhubaneswar – 751003, Odisha.

Outstation offices may be sent by Registered Post / Speed Post and addressed to the Principal, College of Engineering & Technology super scribed as “Equipment and Instruments for Basic Electrical, Control& Instrumentation and Electrical Drives Laboratory for the Department of Electrical Engineering”.

### Requirements by Tenderer before Supply:

### Rating Plate, Name Plate and Labels:

Each of the hardware is to have permanently attached to it, a rating plate of non-corrosive material in a conspicuous position, upon which the total specifications along with the manufacturer’s name, address, etc. are to be engraved.

The supplier must agree for to authorize CET for a multiple user license of the software supplied by them.

### Packaging:

All the hardware are to be suitably protected, covered in water–proof  packing and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

All materials/hardware shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications to be provided by the Tenderer.

The Tenderer shall provide all test and measuring equipment/tools required for inspection/testing.

The cost of all such tests shall be borne by the Tenderer.

CET reserves the right to reject any or all of the items if it does not comply with the specifications during site testing, installation and commissioning stage.

Inspection & testing would be conducted, jointly, at various stages as applicable during unpacking, installation and commissioning of respective hardware/software components at the manufacturing site.

### Environmental Condition:

All the hardware supplied shall be rugged and should operate without any deviation in quality, or degradation of hardware performance. All the specification/parameters shall be guaranteed over the following environmental conditions:

*	Storage Temperature 		0 to 70 degree Celsius

*	Operating Temperature 	0 to 50 degree Celsius

*	Humidity			95% RH (non-condensing)

All hardware items are required to operate at 220/440 V, 50 Hz power supply.

### Requirements by Tenderer after Supply:

### Supply:

The material would be delivered by the supplier at College of Engineering & Technology, BPUT, Techno Campus, Kalinga Nagar, Near Khandagiri, Bhubaneswar – 751003, Odisha.

The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The hardware/software should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the hardware/software, shall be supplied by the Tenderer at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of the complain.

The articles ordered must be supplied in one lot within 4 (FOUR) weeks of placing of the order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

CET reserves the right to procure the materials from alternative sources at the risk and cost of the successful Tenderer giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the items supplied by the supplier are found not up to the specification shall be rejected.

The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.

Imported consignment, if any, should be destined to College of Engineering & Technology, BPUT, Techno Campus, Kalinga Nagar, Near Khandagiri, Bhubaneswar – 751003, Odisha, India through Bhubaneswar Air Port.

The suppliers shall be responsible for releasing the consignments from the carriers/transporters.

The hardware/software shall be delivered and installed at site at the cost of the Tenderer.

All taxes, levies, surcharges including the customs clearance, entry tax, etc and handling freight and insurance should be paid and handled by the Tenderer. No documents/certificates relating to Way bill/road clearance etc. will be provided by the College authority except the format as mentioned below.

TO WHOM SO EVER IT MAY CONCERN

This is to certify that name of the machine (as per the specification mentioned below) being procured from name of the firm vide purchase order no--------- Dated-------- of this office will be installed in the laboratory of the department of Electrical Engineering, College of Engineering and Technology, Bhubaneswar and will be used exclusively for the educational purpose of the students. The machines  and equipments are not meant for any commercial use.

| Sl. No. | DESCRIPTION OF ITEM | QUANTITY | TOTAL PRICE |
| --- | --- | --- | --- |

### Installation and Commissioning:

Installation and Commissioning shall include the following:

- Installation and Testing of the Hardware/software, Machineries etc. supplied by the Tenderer.

- It will be the responsibility of the Tenderer to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to CET.

- The Tenderer is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.

- Installation must complete within a week after delivery on site.

### Documentation:

Detailed technical manuals, handbooks, drawings, Warranty card and Factory Quality Assurance checklist, test results and any other certifications mentioned in the Technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and System Safety procedures.

For Experimental setups details of theory, procedure and methods of taking measurements etc. should be provided in the form of hand books for each experiment in duplicate.

The receipts for taxes paid, if any, for the supplied materials should also be submitted

### Trial Operation and Performance Guarantee Test:

After successful completion of Installation and Commissioning of the hardware/software, a 7-day continuous trial operation putting those on optimum use shall be conducted by the Tenderer at site, during which the performance of the hardware/software shall be demonstrated for trouble-free continuous operation, meeting the specified standards.

During trial operation, Tenderer shall do all necessary adjustments required to ensure the performance as per the acceptable level.

In case, guaranteed performance is not established, the Tenderer shall be given opportunity to rectify/replace the hardware/software components, and restart the 7 days continuous trial operation, at the risk and cost of the Tenderer.

### On-Site Warranty:

- The entire materials may be used continuously. The reliability and safety of the total installed system and trouble-free operation are, therefore, of prime importance. The supplied hardware/software and components shall be covered under two-years or more comprehensive on-site warranty from the date of issue of successful completion of Performance Guarantee Report.

- During the period of warranty, it shall be the responsibility of the Tenderer to provide all essential spares and consumables, which may be required for maintenance and trouble-free operation of the hardware/software components at the Tenderer’s cost.

### Comprehensive Maintenance Contract:

The Tenderer shall be under the obligation of entering into a Comprehensive Maintenance Contract (CMC) with CET for a minimum period of two years, renewable if felt necessary, on mutually acceptable rates, terms and conditions. CMC shall start after the completion of Warranty.

The scope of CMC shall cover maintenance and supply/replacement of hardware/software components, for smooth and reliable operation of the systems without trouble.

Accordingly, the Tenderer has to offer rates for the CMC structure per hardware/software along with the price for the Systems and other associated Hardware/software supplied.

### After Sales Service:

During the warranty period and subsequently, after signing of Agreement for CMC the Tenderer shall attend to the problems reported by the users of CET on a priority basis.

For any problem reported the Tenderer shall attend and rectify the problem within 3 (three) days or provide a stand by system of the similar configuration.

The report on any problem will be informed through phone or fax number of which shall be given by the Tenderer.

The branch office of the concerned manufacturing firm will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the Tenderer.

On failure to comply with those instructions, the Bank Guarantee provided for the warranty period shall be invoked.

### Financial Terms:

  - EMD.

The Tenderer has to submit a Demand Draft/Banker’s Cheque/Pay Order for Rs. 18,000.00 (Rupees Eighteen Thousand Only) in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalised Bank towards EMD. Without EMD, the Tender will be summarily rejected.

There will be no interest paid to the Tenderer towards EMD money.

In no case, the EMD Money in cash or other forms will be accepted at the time of opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD of unsuccessful Tenderers will be refunded as soon as possible after the Tenders are finalized.

No one should submit a Tender who is unable to furnish the EMD as indicated above and supply the hardware/software within the specified period as indicated in the indent/order issued for the quantities decided in his favour.

  - PRICES:

Price quoted should be FOR Bhubaneswar only.

Price should be quoted for unit item; however, the actual system requirements may be much more.

Purchase order will be placed as a single lot for each type of item or for all the items together, as the case may be.

In case of items of import, the Tenderer should take full responsibility for customs clearance, handling, tax payment, etc. and specify the charge for the same in the price bid.

  - Sales Tax Concession:

Central Sales Tax Concession is to be availed on production of the required certificates applicable to Educational Institution.

  - Discount:

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of hardware/software.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item may also be indicated in the bid specifically.

  - Payments:

- In case of imported items, payment will be made by opening LC in the name of the manufacturer subject to the condition that a Bank Guaranty for an equal amount will be submitted by the selected Tenderer to CET for the period of completion of installation and commissioning.

- In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful installation and commissioning of the hardware/software subject to submission of satisfactory performance report by our Professor-in-Charge.

  - Penalty:

If the delivery, installation and commissioning is not carried out in time as specified in other part of the Tender document, the Tenderer/manufacturer will be charged @ 1% (one per cent) per week of the total value of the concerned system/ hardware/software.

  - Rate Contract with DGS & D or any other Government Organisation:

In case the Tenderer has entered into a Rate Contract with DGS & D or any other Government Organization such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with Tender.

### Technical Specifications:

Following are the minimum specifications of the hardware/software. The minimum specifications are indicative and not exhaustive. The models with higher specifications may be quoted. The quoted materials should be of latest trend and technology.

Each equipment should be complete in itself without needing any extra requirements except the requirement of general test and measuring instruments.

| Item | EMD (in Rupees) | Period of complete Delivery, Installation and Commissioning |
| --- | --- | --- |
| A. Equipments for Basic Electrical Engineering Laboratory 1. A.C. Volt meter (0-150-250v) MI type 2. A.C. Ammeter (0-1.25-2.5-5amp) MI type 3. Watt meter (10A, 250V) MI type 4. Auto Transformer (0-270 V ) 50Hz, 10A, 1- Phase 5. DC Compound Motor 1 hp, 3.5 A, 220V DC with volt meter & ammeter; Lab. model 6. DC Shunt Motor 1hp, 3 A, 220 V DC with volt meter ,ammeter 3 point starter & field regulator; Laboratory model 7. Wire wound Rheostat 200 ohm, 2.3A 8. Tacho meter digital type (0-3000 rpm) 9. Energy meter : 1-Phase,10-20 A, 230V and 50 10. 3-Phase squirrel cage Induction Motor 1hp, 440 V 1.2 A with volt meter ,ammeter and star-delta starter , Lab Model 11. M-G set DC Compound Motor 2hp, 6A 3 point starter and field regulator; DC Shunt Generator 2hp, 6 A, 220 V DC 1500 rpm with volt meter ,ammeter Lab model 12. 3 KVA Transformer ; 1-Phase, 220V:220V with center tapping in the secondary, 50 Hz B: Equipments for the Control and Instrumentation Laboratory CONTROL LAB: 1. STUDY OF A DC MOTOR POSITION CONTROL SYSTEM DC MOTOR POSITION CONTROL SYSTEM The DC motor position control trainer consists of 1. Controller: 2 Analog PI controller for position control with cascaded feedback (Position & Speed) with Front panel variable setting for, Variable gain for Proportional controller (P) and Variable Integral Time for Integral controller (I) Servo Potentiometers with full 360° 2. CONVERTER: 4 Quadrant MOSFET chopper provided for forward & reverse direction with MOSFET driver 3.MECHANICAL SETUP: One PMDC motor 12 volt with Gear ratio 30: 1 to run 50rpm speed Motor speed 1500rpm with one tacho generator and one 3 ½ digit display 2. STUDY OF SPEED TORQUE CHARACTERSTICS OF TWO PHASE AC SERVOMOTOR AND DETERMINATION OF ITS TRANSFER FUNCTION i.Two phase AC servo motor setup (100W) Main winding voltage 230V AC Control winding voltage 0-230V AC (90ophase shift) Optical speed sensor for speed measurement Speed (0-1500 rpm) ii) VARIABLE AC VOLTAGE SOURCE One no. of 1 Amp Auto transformer provided to vary 0-230V AC for control unit One no. of phase shift transformer provided for 90ophase shifting of main wire voltage 3 phase input, all are mounted on a cabinet with voltage and current measurement meters mounted 3. OBTAIN THE FREQUNCY RESPONSE OF A LAG AND LEAD COMPENSATOR LEAD-LAG NETWORK SIMULATOR: Built-in variable frequency square wave and sine wave generators for time domain and frequency domain testing of the system. With adjustable amplifier gain facility to study frequency response of Lag, Lead and Lead-Lag network 4. TO OBSERVE THE TIME RESPONSE OF A SECOND ORDER PROCESS WITH P, PI AND PID CONTROL AND APPLY PID CONTROL TO SERVOMOTOR DC SERVO MOTOR PID CONTROLLER: # MOTOR CONTROLLER Consisting of i) a PWM Chopper Drive using MOSFET ii). DC Servo Motor iii). Speed Sensor iv) PID Loop for Speed control iv) Sine and square wave generator setup for producing step, Ramp, sinusoidal waveforms. FEATURES: * One 12V, PM DC Motor * Speed Range: 0 to 1500 RPM * Speed Sensor fixed on the frame Photo interrupter with optical Encoders. * One F/V converter provided to convert the pulses to voltage output. * PID Speed controller to select individually P,PI and PID circuits Proportional circuit * One 3½ digit display to display the original existing speed of the DC Servo motor/ set value POWER AMPLIFIER: * PWM based MOSFET Power Amplifier * Rating: 500V , 8 Amps * Control circuitry with opto-coupler Isolation. * One potentiometer provided to control the duty cycle of the chopper * Provision to feed the control voltage, as External voltage from the personal computer/ Microprocessor / Microcontrollers. * XR2206 for producing different waveforms. * Potentiometers to vary frequency, Amplitude and offset POWER SUPPLY: * Input 230V +10%, 50Hz, Single phase AC * +15V at 0.5A DC regulated output for control circuitry LOADING ARRANGEMENT: * Eddy Current Magnetic Loading Arrangement 5. TO STUDY THE CHARACTESTICS OF A RELAY AND ANLALYZE THE RELAY CONTROL SYSTEM (PHASE PLANE) RELAY CONTROL SYSTEM: SPECIFICATION: * Characters provided: Two and three step relay with overlap * Dead band adjustment: 0 to 10V * Overlap or Hysteresis adjustment: (0-12V) FEATURES: * Simulated second order systems * The Simulated Process Simple lag of 10ms, 2 lags of time constant 10ms that can be toggled to integrators of same time constant Distance-velocity lag & delay 10ms * Electronic relay by Op-Amps * Potentiometers for adjusting hysteresis and dead band zone * Built-in signal sources-sine and square Amplitude: 0-5V, Frequency: 1Hz-100Hz 6. TO STUDY AND VALIDATE THE CONTROLLERS FOR A TEMPERATURE CONTROL SYSTEM TEMPERATURE CONTROL SYSTEM: consists of controller, thyristor based power driver, hot air blower and thermistor as a temperature sensor with signal conditioner etc., to provide a closed loop control of P, PI and PID control and ON/OFF control with adjustable overlap. FEATURES: * Three potentiometers to vary proportional gain, integral time and derivative time of the process * one sleek potentiometer to vary the overlap in ON/OFF controller * Provision to select ON/OFF, P, PI & PID Controller * Adjustment to vary the overlap and maximum heater power by using two individual potentiometers. * Thermistor as a temperature sensor * SCR firing circuit with 2 Nos. of SCRs, to vary the power to the Heater. * One Hot air blower provided with a PVC tube with 3 provisions for inserting thermistor to study transport lag, 2 step controller and PID controller etc. * In-built IC regulated power supply * Digital display 7. TO STUDY THE POSITION CONTROL SYSTEM USING SYNCHROS SYNCHRO TRANSMITTER RECEIVER TRAINER * Two number of torque Synchros used as a transmitter and receiver * Rotor Voltage: 50V AC, 50Hz * Induced Stator Voltage: 22V AC, 50Hz three phase * The input and output angular displacement indication in a round dial marked with angular position (0-360º) * One no. of Digital AC Voltmeter to indicate stator/rotor voltage of transmitter (or) receiver * One no. of 230V/50V AC Step-down transformer for rotor voltage input. ## INSTRUMENTATION LAB # 1. MEASUREMENTS OF UNKNOWN RESISTANCE, INDUCTANCE, AND CAPACITANCE USING BRIDGES. a. WHEAT STONE BRIDGE To find the unknown values of resistances (5E-100KE) * Range of Measurement : 5E - 100KE * Accuracy (Min to Max.) : +0.2 * Tolerance : +5% * One digital Galvanometer to indicate the Balance conditions * Built-in power supply Accessories: Decade Resistance Box: Range: 9,99,990 ohms in steps of 100ohm b. KELVIN'S DOUBLE BRIDGE * Range of Measurement: 0.1E - 0.82E * Tolerance : +5% * Built-in power supply. c. MAXWELL'S INDUCTANCE BRIDGE To study the unknown Inductance value of range of Q factor below 10. * One 1 KHz oscillator of fixed amplitude to feed the input to the bridge. * One audio amplifier with speaker to detect the bridge balancing conditions. * Measurement Range : 15mH - 200mH * Tolerance : +5% * Built-in power supply Accessories: Decade Inductance Box Min - 10mH Max - 1H Range : 1mH to 0.999H in steps of 1mH d. ANDERSON BRIDGE To find the unknown inductance in the range of 25mH to 500mH. * Input to the bridge from a 1 KHz Oscillator with fixed amplitude. * Measuring Range : 25mH - 500mH * Sensitivity : +2mH * Audio amplifier with miniature speaker provision to find the point of balance. * Built-in power supply Accessories: Decade Inductance Box Range : 1mH to 0.999H in steps of 1mH e. HAY'S BRIDGE: To find the unknown Inductance value of Q-factor above 10. * Measuring Range: 5mH - 500mH. * Sensitivity: + 5mH * Input to the bridge from a 1 KHz Oscillator with fixed amplitude * One Audio amplifier with miniature speaker provisions to act as a balance detector. * Built-in power supply Accessories: Decade Inductance Box Range : 1mH to 0.999H in steps of 1mH f. DESAUTY'S BRIDGE To find the unknown value of capacitance of range 0.02uF to 0.9uF * Measurement Range: 0.02uF to 0.9uF * Sensitivity: +0.03uF * Input to the bridge from a 1KHz oscillator with fixed amplitude. * One Audio amplifier with miniature speaker to detect the balance condition of the bridge Accessories: Decade Capacitance Box Range : 100pf to 11.11µfd in steps of 1000pf g. SCHERING BRIDGE To find the unknown value of capacitance of range .001uF to 2uF. * Input of the bridge is taken from a 1 KHz fixed amplitude Oscillator. * One audio amplifier with miniature speaker is provided to detect the bridge balance condition acoustically. * Measuring Range: 0.001uF - 2.0uF * Sensitivity: +0.1uF * Tolerance : +5% Accessories: Decade Capacitance Box Range : 100pf to 11.11µfd in steps of 1000pf 2. TO PLOT THE DISPLACEMENT-VOLTAGE CHARACTERISTICS OF THE GIVEN LVDT DISPLACEMENT MEASUREMENT TRAINER USING LVDT * LVDT sensor with Micrometer (Range: 0-25mm) * Signal Conditioner for LVDT * Displacement calibrated Range for +10mm * Output voltage: 0-5V * Built in Instrumentation Power Supply * A 3½ Digit digital indicator to display the Displacement 3. MEASUREMENT OF TEMPERATURE-VOLTAGE CHARACTERISTICS OF J-TYPE THERMOCOUPLE THERMOCOUPLE MODULE * One `J' type Thermocouple as a temperature sensor * One AD590 sensor for cold junction compensation * Signal conditioner for `J' type thermocouple output: 0-5V * Built in Instrumentation power supply * 3½ digit digital indicator to display the temperature. * Water bath as heat source * Offset variable provision * Thermometer to monitor the temperature 4. USE A STRAIN GAUGE TO PLOT THE CURVE BETWEEN STRAIN APPLIED TO A BEAM AND THE OUTPUT VOLTAGE STRAIN MEASUREMENT TRAINER MODULE * Cantilever beam of maximum weight upto 1Kg. * A pan with slotted weights to vary the strain. * Built in Instrumentation power supply * Signal conditioning card for the strain gauge * 3½ digit digital display for displaying the strain * Offset and gain variable provision 5. STUDY OF RESISTANCE-VOLTAGE CHARACTERISTICS OF THERMISTORS. THERMISTOR MODULE - One negative temperature co-efficient type thermistor sensor as a temperature sensor. - Signal conditioner for Thermistor Transducer: output 0-5V - Built in Instrumentation Power supply - A 3½ Digit Digital indicator for voltage display - Offset variable provision - Water bath as heat source. - Thermometer provided to monitor the actual temperature. 6. TO STUDY ON THE INTERFACE OF PLC WITH PC FOR DATA ACQUISITTION APPLICATIONS PLC Based Data Acquisition System Trainer Specification - 2 Analog inputs (12 bits resolution) with programmable and calibration facility - Single analog output ( Configured as (4-20)mA or (0-10V)DC - Five number of Digital Inputs - Four number of Digital Outputs - Operating voltage 24V DC - Two PWM Outputs - RS232/Ethernet port Interface - Provision to expand any I/O lines Application Module * One Voltage/Current source provided to study the analog interface * Digital Inputs/Outputs interfaced with switches and LED's * The PWM output signal connected interface with sleek tachometer * One temperature sensor with signal conditioner to study the closed loop of temperature system using D/A * A SCADA Software 7. MEASURMENT OF SPEED BY USING MAGNETIC PICKUP SPEED MEASUREMENT & CLOSED LOOP CONTROL OF DC MOTOR USING PHOTO ELECTRIC PICKUP TRAINER Technical Specifications - One 12 V PMDC Motor mounded on an open frame Speed Range (0-1500) RPM - One Proximity sensor with optical encoder fitted on a frame - One F/V Converter to convert the pulsed to voltage output - Provision to select open loop and closed loop control - 3½ digit display to display the set speed or actual speed - PWM based MOSFET power Amplifier - In-Built IC Regulated Power Supply C. Equipments for Electrical Drives Laboratory 1. 1-Phase induction motor (230V, 0.5 hp) 2. Separately Excited DC Motor (220V,1 hp) 3. Experimental module for speed control of sep. excited dc Motor(1 HP) using 4 quadrant chopper with complete accessories and meters. 4. Experimental module for speed control of sep. excited dc motor using 1-Ph dual converter with complete accessories and meters. 5. Experimental module for speed control of 3-Phase squirrel Cage induction motor (1 HP) using three phase ac to ac Voltage controller with firing circuit and complete accessories 6. Experimental module for speed control of 3-Phase slip ring induction motor (1 HP) using chopper controlled resistance in the rotor circuit. 7. Experimental module for determination of Transfer Function of DC shunt motor (1 HP) 8. Determination of Moment of Inertia of DC Shunt motor Drive system (1 HP) by Retardation test with accessories 9. 10 kW Rectifier SCR based with Panel (Input 3-Ph 440V, Output 220V dc , 45 A) 10. 3-Ph variac (0-440V,13.5 A) 11. Three phase ganged resistors, 200 Ohm, 1.3 A per phase 100 Ohm, 2.3 A per phase | 18,000.00 | 4 weeks |

### Installation and Training Support, Proactive Support and Maintenance, Support to ensure effective usage of the tools, and addition and alterations due to New Release and Upgradation,  if any, to be specified clearly in the Terms and Conditions of Supply.

### Instruction to the Tenderer:

  - Instructions to Offer Technical and Price Bids Separately:

Technical Offer and Price Bids should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either “Technical Offer” or “Price Offer”.

Both these covers should be placed in a third cover super scribed as “Tender for Equipments and Instruments for Electrical Engineering Laboratory”.

Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology.

Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible.

Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and number for each offer.

Include the printed catalogue and pricelist if any for each of the equipment quoted.

Specify the list of Accessories required along with each of the equipment.

In the price offer sealed packet, the price quoted should be FOR College of Engineering & Technology, Bhubaneswar inclusive of all taxes, levies, surcharges including the custom clearance, entry tax, etc and handling freight and insurance.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the equipment as “Free Accessories”; these should be fully compatible with the quoted models.

The client list if any may be provided.

  - Solving Disputes:

CET, the Tenderer and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order.

Sign on each page this Tender document and Return it along with the offer enclosing this part together with the Technical Offer.

The CET authority has all rights to accept/reject any Tender without assigning any reasons there of