ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

(Formerly College of Engineering & Technology, Bhubaneswar)

Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar,

BHUBANESWAR-751029, ODISHA, INDIA

No. 2336 / OUTR		                                            Date: 27 / 09 / 2022

TENDER CALL NOTICE

Sealed Tenders are invited from reputed Original Manufacturers / Authorized Dealers, for supply, installations and testing of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber to Department of Chemistry of the University, details of which are available in the tender papers. The tenderers must possess valid up-to-date GST /income tax clearance etc. The last date of submission of tender is 26.10.2022 (up to 1 PM) and will be opened on the same date at 3.00 PM. The sealed tender will be received by Speed Post/Registered Post only. No hand delivery or courier is acceptable. Tender received after the scheduled date and time will not be considered. The authority is not responsible for any postal delay. The authority reserves the right to cancel the bids without assigning any reason thereof. More details are available at our university website www.cet.edu.in.

Sd/-		                                                                                          OFFICER ON SPECIAL DUTY

BID PARTICULARS AND INSTRUCTIONS OF TENDER NOTICE

FOR

SUPPLY, INSTALLATIONS AND TESTING OF

- Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber

FOR

DEPARTMENT OF CHEMISTRY

ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

(Formerly College of Engineering & Technology, Bhubaneswar)

Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar,

BHUBANESWAR-751029, ODISHA, INDIA

DETAILED PARTICULARS AND INSTRUCTIONS ON TENDER

FOR

#### Purchase of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode compactable to Orion bench top meter iii) weighing balance & iv) Solvent Chamber with their installations and testing

FOR

Department of chemistry

ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

(Formerly College of Engineering & Technology, Bhubaneswar)

Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar,

BHUBANESWAR-751029, ODISHA, INDIA

#### Sealed Tenders are invited from reputed Original Manufacturers /Authorised Dealers, for supply, installations and testing of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing machine / balance & iv) Solvent Chamber for the Department of Chemistry, ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH (Formerly College of Engineering & Technology, Bhubaneswar), Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar,  BHUBANESWAR-751029, ODISHA, INDIA

### Scheduled Tender Activity:

| Sl. No. | Activity |  | Date |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 2 | Due date for tender Last Date of Tender Document Submission |  | 27/09/2022 26/10/2022 up to 1.00PM |  |  |
| 3. | Tender Opening |  | 26/10/2022 at 3.00 PM |  |  |
| Items |  | EMD (in Rupees) |  | Cost of Tender Document (in Rupees) | Period of complete Delivery, Installation and Commissioning |
| - Vacuum Oven - Cadmium (Cd2+) ion selective electrode - weighing balance - Solvent Chamber |  | See under clause no. 5.1 of this tender |  | Rs.1000/ + GST as applicable | 6 weeks/120 days |

Commercial bid & Technical bid must be enclosed separately.

The Tender documents can also be downloaded from our website cet.edu.in and the tenderer has to submit a separate draft of Rs.1000.00 + GST as applicable (in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalised Bank towards tender paper cost) along with submitted tender, otherwise the offer submitted by the tenderer will be cancelled.

### Eligibility of Tenderer and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

- The tenderer must be a reputed original manufacturer and/or the Authorised Dealers of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities.

- If the tenderer is an Authorised Dealers of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.

- The tenderer must provide evidence of successful supply orders of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber

- The tenderer must have cleared Sales Tax and Income Tax payment up- to- date. Attested copies of Sales Tax Clearance Certificate or non-assessment certificate from the concerned Sales Tax Authority valid up- to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, GST certificates from the competent authority, PAN Number must be enclosed along with the Tender documents.

### General Instructions:

The tenderers who are the Original Manufacturers / Authorized Dealers of the product must be manufacturing the complete product, selling under the specified brand name and models are the eligible participants.

The tenders will be opened on 26/10/2022 at 3.00 PM in presence of the tenderers or their authorized representatives. Authorized/ representatives will be required to produce /their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular tenderer under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenderer/s would be rejected or contract cancelled and earnest money deposited will be forfeited.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, Delivery period and After-Sale-Service conditions, etc. are also to be clearly indicated.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased or illegible specifications and rates will be rejected.

Request from tenderer in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Tenderers shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a tenderer find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, the tenderer should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the tenderer to ask for time beyond the due date fixed for receipt of tenders.

The tenderer must also specify minimum time and maximum time to repair/replace in the event of a failure and penalty thereof.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the tenderer agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, tenderers and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the tenderers either in writing or through personal contact as may be necessary.

The quantity mentioned against each item is approximate but it may change during finalization.

The bid will be considered on turnkey basis i.e. cost of all items, installations and testing together and fulfilling the technical specifications mentioned in this tender.  The bid will not be considered on individual item basis.

The tenderer will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the tenderer is liable to be disqualified.

### Submission of Tenders:

#### The sealed envelope must show the name of the tenderer and his address and should be superscribed as “Tender for (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber for Department of Chemistry” on the top of the envelope.

All the documents submitted must be in the papers showing signature of the tenderer and printed office name of the tenderer on official seal.

All the documents must be submitted in a sequential manner with separator/flags to help in quick scanning of the topics.

The tenders should be submitted at the office of the OSD, ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH (Formerly College of Engineering & Technology, Bhubaneswar), Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar,  BHUBANESWAR-751029, ODISHA, INDIA.

The sealed tender will be received by Speed Post/Registered Post only and addressed to the OSD, ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH (Formerly College of Engineering & Technology, Bhubaneswar), Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar, BHUBANESWAR-751029, ODISHA, INDIA superscribed as “Tender for (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber for Department of Chemistry”. No hand delivery or courier is acceptable.

### Requirements by Tenderer before Supply:

### Rating Plate, Name Plate and Labels:

Each of the (i) Vacuum Oven to (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber are to have permanently displayed to it, a name of the manufacturer etc.

### Packaging:

The two instruments are to be suitably protected, covered in water–proof  packing and crated to prevent damage or deterioration during transit and storage till the time of supply/installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

The two instruments shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications to provided by the tenderer.

The tenderer shall provide all tests and measuring these instruments/ accessories required for inspection/testing.

The cost of all such tests shall be borne by the Tenderer.

OUTR reserves the right to reject any instrument if these do not comply with the specifications during site testing, installation and commissioning stage.

### Environmental Condition:

The two instruments supplied shall be rugged and should operate without any deviation in quality, or degradation of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber. All the specification/parameters shall be guaranteed over the following environmental conditions:

*	Storage Temperature 		0 to 70 degree Celsius

*	Operating Temperature 	As per standard temp. in chemistry lab.

*	Humidity			95% RH (non-condensing)

All the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective iii) weighing balance & iv) Solvent Chamber are intended to be used in the chemistry laboratories/department.

### Requirements by Tenderer after Supply:

### Supply:

The instruments would be delivered by the supplier at ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH (Formerly College of Engineering & Technology, Bhubaneswar), Techno Campus, Ghatikia, P.O.: Mahalaxmi Vihar,  BHUBANESWAR-751029, ODISHA, INDIA and perform the installations and testing at his own cost.

The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The two instruments should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber with installations and testing shall be supplied by the tenderer at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.

The articles ordered must be supplied in one lot within 6 (SIX) weeks (for Indian (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber or 120 days for foreign manufacturers) of placing of the purchase order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

OUTR reserves the right to procure the materials from alternative sources at the risk and cost of the successful tenderer giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the items supplied by the supplier are found not up to the specification shall be rejected. The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.

The suppliers shall be responsible for releasing the consignments from the carriers/transporters.

The (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber shall be delivered at site at the cost of the tenderer.

All taxes, levies, surcharges, handling freight and insurance, if any, should be paid and handled by the tenderer.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

- It will be the responsibility of the tenderer to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to OUTR.

- The tenderer is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.

- Installation, if any, must complete within a week after delivery on site.

### Documentation:

If necessary, detailed technical manuals, handbooks, drawings, Warranty card and Factory Quality Assurance checklist, test results and any other certifications mentioned in the Technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and System Safety procedures.

### Financial Terms:

  - EMD

The tenderer has to submit a Demand Draft/Banker’s Cheque/Pay Order/Bank Quarantee in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalized towards EMD instrument-wise as follows:

| Sl No. | Name of the instruments | EMD amount (Rs.) |
| --- | --- | --- |
| 1 | Vacuum Oven | Rs. 5,000/- |
| 2 | Cadmium (Cd2+) ion selective electrode compactable to Orion bench top meter | Rs. 1000/- |
| 3 | Weighing balance | Rs. 1000/- |
| 4 | Solvent Chamber | Rs. 1000/- |

If the tenderer is to apply for all instruments, then total EMD amount of Rs.8,000/- is to be paid through one Demand Draft/Banker’s Cheque/Pay Order/Bank Quarantee.

There will be no interest paid to the tenderer towards EMD money opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD of unsuccessful tenderers will be refunded as soon as possible after the tenders are finalized.

No one should submit a tender who is unable to furnish the EMD as indicated above and supply the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber within the specified period as indicated in the indent/order issued for the quantities decided in his favour.

  - PRICES:

Price quoted should be FOR Bhubaneswar only, which should be valid for at least three months. No increase of price will be considered if the purchase order is issued within this time limit.

Price should be quoted for unit item; however, the actual requirements may be much more. The tentative numbers of items required are given which may vary (increase/decrease) after words as per requirement. (A tenderer may propose to give discounts if any for purchase of more than one unit of a particular item.). The bid will be considered on turnkey basis i.e. cost of all items, installations and testing together.

  - Sales Tax Concession:

Central Sales Tax Concession is to be availed on production of the required certificates applicable to Educational Institution.

  - Discount:

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item may also be indicated in the bid specifically.

  - Payments:

In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful supply, installations and testing of the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber subject to submission of satisfactory performance report by our Professor-in-Charge.

  - Penalty:

If the delivery is not carried out in time as specified in other part of the tender document, the tenderer/manufacturer will be charged @ 1% (one per cent) per week of the total value of the concerned instruments (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber.

  - Rate Contract with DGS&D or any other Government Organisation:

In case the tenderer has entered into a Rate Contract with GeM or any other Government Organization such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with tender.

### Technical Specifications:

The list of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber with their technical specifications are as follows:

| Sl. No. | Name of the items with technical specifications | Qty Required (approx.) |
| --- | --- | --- |
| 1 | Vacuum Oven for gentle drying of heat sensitive materials, targeted recovery of degased products, drying of powders at high temperature with following specifications: Temperature range: ambient +10°C to 200 °C or better Temperature control and display: PID, digital display Over temperature protection: Adjustable over-temperature protection for sample safety Temperature Uniformity: +- 100C Resolution: 0.10C Shelving: Aluminum Shelves; trays as accessories Inert gas connection: with precision valve for gentle purging & overpressure protection Pressure display: Analogue (digital on option) Heating technology Choice: Jacket heating and Shelf heating Material of inner chamber: Stainless steel Attainable vacuum: 1.5 mbar or less Vacuum Display: Dial gauge Programmability: programmable controls for temperature ramping *Must have calibration certificate. *Additional accessories must be quoted separately. Warranty: 2 Years | 01 no. |
| 2 | Cadmium (Cd2+) ion selective electrode It should be compactable to Orion bench top meter Construction: ionplus sure-flow solid state combination Measurement Range: 1 x 10-7 to 0.1 M; 0.01 to 11,200 ppm Optimum Temperature Range: 0 to 80 °C Required Reference Electrode: Included Reference Filling Solution: as per requirement. Calibration Standards: as per requirement. Warranty: 2 years | 01 no. |
| 3 | Weighing balance (4 digit) Readability: 0.0001 Maximum Weight Capacity: 220 g or more Repeatability: 0.0001 g Linearity: 0.0002 g Response time: 2.5 Sec Calibration & adjustment: Internal *Must have calibration certificate. | 01 no. |
| 4 | Solvent Chamber for storage of chemicals, flammable & combustible liquids. Capacity of 300 liter, 2 shelves, Bi-fold self-close door with Flammable Cabinet. | 01 no. |

This instrument is to be installed at the site decided by the Department of Chemistry.

### Instruction to the Tenderer:

  - Instructions to Offer Technical and Price Bids Separately:

Technical Offer (Annexure-I) and Price Bid (Annexure-II) should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either “Technical Offer” or “Price Offer”.

Both these covers should be placed in a third cover superscribed as “Tender for (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber for Department of Chemistry”.

Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology. Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible. Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and catalogue number for each offer. Include the printed catalogue and price list if any for each of the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber quoted.

Specify the list of Accessories required along with each of the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber as “Free Accessories”; these should be fully compatible with the quoted models.

  - Solving Disputes:

OUTR, the tenderer and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

The OUTR authority has all rights to accept/reject any tender without assigning any reasons thereof.

NB: (i) The above terms and conditions except those otherwise agreed upon shall form a part of the Purchase Order.

(ii) Sign on each page of this tender document and return it along with the offer enclosing this part together with the technical offer.

Annexure-I

(in the letter head of the bidder)

TECHNICAL BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail			:

Mobile no.		:

5.	Tender paper cost deposited		: Yes /No (tick one)

If yes, give details			:

6.	EMD deposited			: Yes/ No (tick one)

If yes, give details			:

7.	Registration of the firm		: (submit the documentary proof)

8.	Tax Clearance up to			 :

Name of the document(s) submitted	: (submit the documentary proof)

9.	TIN/PAN				:

10.	GST/GSTIN as applicable		: (submit the documentary proof)

10.	Manufacturer’s Authorisation		: (submit the documentary proof)

11.	Turnover for the last three year	:

(Enclose the CA certified audited statements showing turn over for last three years)

12.	Clientele list

13.	Any other document etc. submitted	:

14.	Technical details for (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber

| Sl. No. | Name of the items with technical specifications of | Qty Required (approx.) | Make & catalogue number | Detail technical specifications |
| --- | --- | --- | --- | --- |
| 1 | Vacuum Oven for gentle drying of heat sensitive materials, targeted recovery of degased products, drying of powders at high temperature with following specifications: Temperature range: ambient +10°C to 200 °C or better Temperature control and display: PID, digital display Over temperature protection: Adjustable over-temperature protection for sample safety Temperature Uniformity: +- 100C Resolution: 0.10C Shelving: Aluminum Shelves; trays as accessories Inert gas connection: with precision valve for gentle purging & overpressure protection Pressure display: Analogue (digital on option) Heating technology Choice: Jacket heating and Shelf heating Material of inner chamber: Stainless steel Attainable vacuum: 1.5 mbar or less Vacuum Display: Dial gauge Programmability: programmable controls for temperature ramping *Must have calibration certificate. *Additional accessories must be quoted separately. Warranty: 2 Years | 01 no. |  |  |
| 2 | Cadmium (Cd2+) ion selective electrode It should be compactable to Orion bench top meter Construction: ion plus sure-flow solid state combination Measurement Range: 1 x 10-7 to 0.1 M; 0.01 to 11,200 ppm Optimum Temperature Range: 0 to 80 °C Required Reference Electrode: Included Reference Filling Solution: as per requirement. Calibration Standards: as per requirement. Warranty: 2 years | 01 no. |  |  |
| 3 | Weighing balance (4 digit) Readability: 0.0001 Maximum Weight Capacity: 220 g or more Repeatability: 0.0001 g Linearity: 0.0002 g Response time: 2.5 Sec Calibration & adjustment: Internal *Must have calibration certificate. | 01 no. |  |  |
| 4 | Solvent Chamber Capacity of 300 liter, 2 shelves, Bi-fold self-close door with Flammable Cabinet. | 01 no. |  |  |

Date:

Place:						                Signature of the authorized person & seal

Annexure-II

(in the letter head of the bidder)

PRICE BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail	& Mobile no.	:

5.	Tax Clearance up to			 :

6.	TIN/PAN				:

7.	Rate of (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber (in Indian rupees in English only). The cost should be inclusive of supply, installations and testing of these items.

IMP: 	(i) (i) Vacuum Oven (ii) Cadmium (Cd2+) ion selective electrode iii) weighing balance & iv) Solvent Chamber must be of as per the specifications.

(ii) Price bid will not be considered for any particular item if make of it is not mentioned.

(iii) Quantity required are approximate which may change during finalization.

| Sl. No. | Name of the items with technical specifications | Qty Reqd. (approx.) | Make & catalogue number | Detail technical specifications(tick) | Rate per unit item in Rs. | GST @ Per unit item in Rs. | Total amount in Rs. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Vacuum Oven for gentle drying of heat sensitive materials, targeted recovery of degased products, drying of powders at high temperature with following specifications: Temperature range: ambient +10°C to 200 °C or better Temperature control and display: PID, digital display Over temperature protection: Adjustable over-temperature protection for sample safety Temperature Uniformity: +- 100C Resolution: 0.10C Shelving: Aluminum Shelves; trays as accessories Inert gas connection: with precision valve for gentle purging & overpressure protection Pressure display: Analogue (digital on option) Heating technology Choice: Jacket heating and Shelf heating Material of inner chamber: Stainless steel Attainable vacuum: 1.5 mbar or less Vacuum Display: Dial gauge Programmability: programmable controls for temperature ramping *Must have calibration certificate. *Additional accessories must be quoted separately. Warranty: 2 Years | 01 no. |  |  |  |  |  |
| 2 | Cadmium (Cd2+) ion selective electrode It should be compactable to Orion bench top meter Construction: ion plus sure-flow solid state combination Measurement Range: 1 x 10-7 to 0.1 M; 0.01 to 11,200 ppm Optimum Temperature Range: 0 to 80 °C Required Reference Electrode: Included Reference Filling Solution: as per requirement. Calibration Standards: as per requirement. Warranty: 2 years | 01 no. |  |  |  |  |  |
| 3 | Weighing balance (4 digit) Readability: 0.0001 Maximum Weight Capacity: 220 g or more Repeatability: 0.0001 g Linearity: 0.0002 g Response time: 2.5 Sec Calibration & adjustment: Internal *Must have calibration certificate. | 01 no. |  |  |  |  |  |
| 4 | Solvent Chamber Capacity of 300 liter, 2 shelves, Bi-fold self-close door with Flammable Cabinet. | 01 no. |  |  |  |  |  |
|  |  |  | Total Cost |  |  |  |  |

Date:

Place:						Signature of the authorized person & seal