**Odisha University of Technology and Research**

**(Formerly College of Engineering and Technology, Bhubaneswar)**

**Techno Campus, PO: Mahalaxmivihar, Bhubaneswar –751029**

**No.197 /OUTR, Dated 01.02.2022**

**TENDER CALL NOTICE**

Sealed tenders are invited from reputed original manufacturers/authorized dealers/ registered firms /agencies with valid GSTIN No. for the supply, delivery; installation, and testing of the complete setup of **Fuel Cell setup** in OURIIP 2020 Project listed in the tender document through speed post/registered post only, for the**Department of Electronics and Instrumentation Engineering, Odisha University of Technology and Research**. The last date of submission of the tender is **23.02.2022,** 04:00 PM, which will be opened on **24.02.2022**, 3:00 PM. The tender bid documents with details of terms and conditions are to be downloaded from the university website:**[www.cet.edu.in](http://www.cet.edu.in).**

The authority reserves the right to reject/cancel the tenders in whole or in part without assigning any reason thereof. The authority will not be responsible for any postal delay.

 Sd/-

**OFFICER ON SPECIAL DUTY**

**BID Ref No.197/OUTR, Dated 01.02.2022**

**BID PARTICULARS AND INSTRUCTIONS OF TENDER NOTICE**

**FOR SUPPLY OF**

**Equipment for OURIIP 2020 Project**

 **FOR**

 **DEPARTMENT OF ELECTRONICS AND INSTRUMENTATION ENGINEERING**

**Odisha University of Technology and Research**

**(Formerly College of Engineering and Technology, Bhubaneswar)**

**Techno Campus, PO: Mahalaxmivihar, Bhubaneswar –751029**

**INVITATIONFORBIDS**

**Odisha University of Technology and Research**, Bhubaneswar invitessealedbidsfromeligiblebidders forthe supply of equipment for the OURIIP 2020 Project to the Department of Electronics and InstrumentationEngineering. Interested eligibleBiddersmayobtaindetailed information and a list of items with technical specificationsfrom**thewebsite**[**www.cet.edu.in**](http://www.cet.edu.in)

### Particularsaboutsubmissionofbiddingdocument areasfollows:

1. Priceofbiddingdocument (non-refundable): **Rs. 1000/-(service tax is included)**
2. Firstdateofavailability of bidding document

Onthe website: **02.02.2022**

1. Lastdateandtimefor submissionofbids: **23.02.2022at 04.00 P.M.**
2. Timeanddateof openingof technicalbids: **24.02.2022at 03.00 P.M.**
3. Timeanddateof openingof financial bids: **28.02.2022at3.00 P.M.**
4. Placeofopeningofbids: **Conference Hall,**

 **Odisha University of Technology andResearch,**

 **Techno-Campus,Ghatikia,**

 **Mahalaxmivihar Bhubaneswar-751 029.**

1. Addressforcommunication of bids : **Officer On Special Duty,**

 **Odisha University of Technology andResearch,**

 **(Formerly College of Engineering & Technology)**

 **Techno-Campus, Ghatikia, Mahalaxmivihar**

 **Bhubaneswar-751 029.**

### Eligibility of bidder and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

1. The bidder must be a reputed **OEM** manufacturer and/or the Authorized Dealer of a reputed manufacturer. Manufacturers should provide all documents relating to their **Manufacturing Capabilities.**
2. If the bidder is an Authorized Dealer of a reputed manufacturer, a necessary certificate to this effect from the manufacturer must be enclosed.
3. The bidder must have both sales and service centers with qualified Service Engineers. All after-sales support should be provided directly by the manufacturer only.
4. The bidder must have the willingness for providing comprehensive maintenance support of the Equipment supplied by him.
5. The bidder must provide evidence of successful execution of supply orders with installation and successful after-sales support in reputed organizations
6. The bidder must have GSTIN No. and Income Tax payment up-to-date. Attested copies of GSTIN Certificate or non-assessment certificate from the concerned Authority valid up-to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, as the case may be, from the competent authority, up-to-date and/or PAN Number must be enclosed along with the Tender documents.

### General Instructions:

1. The bidders who are **the Original Equipment Manufacturers (OEM)/ Authorized Dealers** of the product must be manufacturing the complete product, selling under the specified brand name and model are the eligible participants.
2. The selection for procurement of equipment will be based on quality and performance along with cost. In this context decision of the technical committee is final based on documentary evidence or actual physical verification.
3. The tenders will be opened on **24.02.2022 at 3:00 PM** in the presence of the bidders or their authorized representatives. Authorized representatives will be required to produce their authorization before the opening of the bid, failing which they will not be allowed to be present.
4. Submission of more than one bid by a particular bidder under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenders would be rejected or contract canceled and earnest money deposit will be forfeited.
5. The bidders should mention the location of its service center nearest to Bhubaneswar in their tender paper.
6. All offers should be typed or printed clearly in English and the price quoted for each item should be firm.
7. Warranty period, delivery period, and after-sale-service conditions, etc. are also to be clearly indicated.
8. The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.
9. Submitted tender forms with overwriting or erased on illegible specifications and rates will be rejected.
10. Request from a bidder in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after the opening of the bid may not be considered. However, negotiation may be made before finalization.
11. Bidder shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.
12. Should a bidder find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, he should at once notify the purchaser and obtain clarification in writing.
* This, however, does not entitle the bidder to ask for time beyond the due date fixed for receipt of tenders.
1. The bidder must also specify minimum uptime and maximum time to repair/replace in the event of a failure and penalty thereof.
2. Verbal clarification and/or information,if given, by the purchaser or its employees or representatives shall not be binding on the purchaser.
3. Submission of the sealed bid will carry with the implication that the bidder agrees to abide by the conditions laid down in the detailed particulars of the bid notice.
4. Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.
5. While tenders are under consideration, bidders and their representatives or other interested parties are advised to refrain from contacting by any means, the purchaser's personnel or representatives on matters relating to the tenders under study.
6. The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the bidders either in writing or through personal contact as may be necessary.
7. The bidder will not be permitted to change the substance of his offer after the tenders have been opened.
8. In the event of non-compliance with this provision, the bidder is liable to be disqualified.

### Procedure for Submission of Tenders:

1. The Bidders must submit their bids as required in two parts in separate sealed covers prominently super scribed as Part-I “**Technical Bid**” and Part-II “**Financial Bid**” and also indicating on each of the covers the “**Tender call Notice Number & Date**” and **due date and time of submission** as mentioned in Tender Cal Notice.

**Part-I (Technical Bid)**

Excepting the price schedule, all other documents as mentioned in para 2.1 i.e details of **technical specifications, leaflet, Copy of Firm Registration Certificate from the competent authorities, GSTIN certificate, Income Tax Clearance, PAN Card copy, list of clients, authorization certificate from Manufacturer in case of Dealer**, **etc**. along with **tender document duly signed** by the authorized person in each page shall be covered in Part-I (Technical Bid).

**Part-II (Financial Bid)**

All indications of the price shall be given in Part-II (Financial Bid)

1. Both sealed covers Part-I “Technical Bid” and Part-II “Financial Bid” should be placed in a third cover along with requisite EMD & cost of Tender documents (separately in the form of Demand Draft drawn in favor of Principal, College of Engineering & Technology, Bhubaneswar at any Nationalized Bank payable at Bhubaneswar), others requisite supporting documents, etc. and sealed. The sealed cover containing tender documents as per procedure indicated above should be submitted by Speed Post / Registered Post to the office of the Officer on Special Duty, Odisha University of Technology and Research(*Formerly College of Engineering & Technology*) Techno-campus, P.O.: Mahalaxmivihar, Bhubaneswar-751029, Odishawithin the due date and time as stipulated in Tender. No hand delivery is accepted. The sealed envelope must show the name of the bidder and his address and should be superscribed as “*Tender for the supply of Fuel Cell for OURIIP 2020 Projectin the Department* of Instrumentation and Electronics Engineering”on the top of the envelope.
2. All the documents submitted must be in the papers showing the signature of the bidder and the printed office name of the bidder withthe official seal.
3. All the documents must be submitted in a **sequential manner** with **separator/flags** to help in quick scanning of the topics. Wherever possible, data in tabular form should be given

### 3. Requirements by Bidder before Supply:

### Rating Plate, Name Plate, and Labels:

Each of the pieces of equipment is to have permanently attached to it, a rating plate of non-corrosive material in a conspicuous position, upon which the total specifications along with the manufacturer’s name, address, etc. are to be engraved.

### Packaging:

All the equipment is to be suitably protected, covered in waterproof packing, and crated to prevent damage or deterioration during transit and storage till the time of installation. The supplier shall be responsible for any loss or damage caused during transportation, handling, or storage till their successful installation.

### Inspection:

1. All materials/equipment shall be inspected and tested for completeness, proper assembly, operation, cleanliness, and state of physical condition and performance as per quoted specification.
2. The test shall be conducted, reported, and certifications to provide by the bidder
3. The bidder shall provide all test and measuring equipment/tools required for inspection/testing.
4. The cost of all such tests shall be borne by the Bidder.
5. CET reserves the right to reject any equipment if it does not comply with the specifications during the site testing, installation, and commissioning stage.
6. Inspection & testing would be conducted, jointly, at various stages as applicable during unpacking, installation, and commissioning of respective equipment/ components at the manufacturing site.

### Environmental Condition:

All the equipment supplied shall be rugged and should operate without any deviation in quality, or degradation of equipment performance. All the specifications/parameters shall be guaranteed over the following environmental conditions:

\* Storage Temperature 0 to 70 degree Celsius

\* Operating Temperature 0 to 50 degrees Celsius

\* Humidity 95% RH (non-condensing)

All the equipment is intended to operate under 220 V, 50 Hz power supply.

### Requirements by Bidder after Supply:

### Supply:

**The material would be delivered and installed by the supplier at the Department of Electronics and Instrumentation and Engineering,Odisha University of Technology and Research *(Formerly College of Engineering & Technology)*, Techno Campus, P.O.:Mahalaxmivihar, Bhubaneswar – 751029, Odisha.**

1. The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.
2. The equipment should conform to the latest relevant National/International standards and shall be completed in all respect.
3. Any component, fitting, etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the equipment, shall be supplied by the bidder at no extra cost.
4. In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.
5. The articles ordered must be supplied in one lot within 6 (SIX) weeks of placing the purchase order.
6. In case of delay in delivery or successful installation, a penalty of 1% (one percent) per week shall be levied.
7. OUTR reserves the right to procure the materials from alternative sources at the risk and cost of the successful bidder giving 15 days’ notice.
8. Any increase in tax and duties after the expiry of the delivery period will be to the seller’s account.
9. In case the items supplied by the supplier are found not up to the specification shall be rejected.
10. The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.
11. Imported consignment, if any, should be destined to “**Department of Electronics and Instrumentation and Engineering,Odisha University of Technology and Research”*(Formerly College of Engineering & Technology)*, Techno Campus, P.O.:Mahalaxmivihar, Bhubaneswar – 751029, Odisha**through nearest custom clearing Airport (Bhubaneswar/Kolkata Airport).
12. The suppliers shall be responsible for releasing the consignments from the carriers/transporters.
13. The equipment shall be delivered and installed at the site at the cost of the bidder.
14. All taxes, levies, surcharges including the customs clearance and handling freight and insurance should be paid and handled by the bidder.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

1. Installation and Testing of the Equipment, Machineries, etc. supplied by the bidder.
2. It will be the responsibility of the bidder to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to the purchaser.
3. The bidder is to bring their testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.
4. Installation must complete within 15 days after delivery on site.
5. The bidders should provide all necessary raw materials for running the machine during commissioning.

### Documentation:

1. Detailed **technical manuals, handbooks, drawings, warranty cards, and factory quality assurance checklists, test results,** and any other certifications mentioned in the technical specifications shall be supplied along with the consignment.
2. Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance, and system safety procedures.
3. For Experimental setups details of the **theory, procedure, and methods of taking measurementsetc.** should be provided in the form of handbooks for each experiment in duplicate.
4. The receipts for taxes paid, if any, for the supplied materials should also be submitted

### Trial Operation and Performance Guarantee Test:

1. After successful completion of installation and commissioning of the equipment, a 7-day continuous trial operation putting those on optimum use shall be conducted by the bidder at the site, during which the performance of the equipment shall be demonstrated for trouble-free continuous operation, meeting the specified standards and proper training shall be imparted to two persons of the purchaser.
2. During the trial operation, the bidder shall do all necessary adjustments required to ensure the performance as per the acceptable level.
3. In case, guaranteed performance is not established, the bidder shall be allowed to rectify/replace the equipment/components and restart the 7 days continuous trial operation, at the risk and cost of the bidder.

### On-Site Warranty:

* 1. The entire materials may be used continuously. The reliability and safety of the total installed system and trouble-free operation are, therefore, of prime importance. The supplied devices/equipment and components shall be covered under a **two-years or more** comprehensive on-site warranty from the date of issue of successful completion of Performance Guarantee Report.
	2. During the period of warranty, it shall be the responsibility of the bidder to provide allessential spares and consumables, which may be required for maintenance and trouble-free operation of the devices/components at the bidder’s cost.
	3. Software, if any, has to be tested with at least a one-year warranty for trouble-free operation.

### Comprehensive Maintenance Contract:

1. The bidder shall be under the obligation of entering into a Comprehensive Maintenance Contract (CMC) with CET for a minimum period of two years, renewable if felt necessary, on mutually acceptable rates, terms and conditions. CMC shall start after the completion of the Warranty.
2. The scope of CMC shall cover maintenance and supply/replacement of materials and components, for smooth and reliable operation of the systems without trouble.
3. Accordingly, the bidder has to offer rates for the CMC structure per equipment along with the price for the Systems and other associated Equipment supplied.

### After Sales Service:

1. During the warranty period and subsequently, after signing of Agreement for CMC the bidder shall attend to the problems reported by the users of CET on a priority basis.
2. For any problem reported, the bidder shall attend and rectify the problem within 3 (three) days or provide a standby system of a similar configuration.
3. The report on any problem will be informed through phone or fax number of which shall be given by the bidder.
4. The branch office of the concerned manufacturing firm will be fully responsible to provide maintenance service, in case of any negligence, in providing the service by the bidder
5. On failure to comply with those instructions, the Bank Guarantee provided for the warranty period shall be invoked.

### Financial Terms:

### EMDAmount:Rs.2,000/-

1. The bidder has to submit a Demand Draft/Banker’s Cheque/Pay Order for the equipment as mentioned below in favor of **Principal, College of Engineering and Technology** payable at **Bhubaneswar** in any Nationalized Bank towards EMD and cost of the Tender Paper. Without EMD and the cost of the Tender Paper, the tender will be summarily rejected.
2. There will be no interest paid to the bidder towards EMD money of Rs. 2,000/-.
3. In no case the EMD money in cash or any other forms will be accepted at the time of opening of the bid.
4. No request for adjustment of claims, if any, will be accepted.
5. The EMD of unsuccessful bidders will be refunded as soon as possible after the tenders are finalized.

### 5.2 Performance Security Deposit

In case of successful Bidder **EMD** will be kept as **Performance Security Deposit** and will be **refunded after the expiry of stipulated warranty periods from the completion date of installation and commissioning on satisfactory performance of the equipment.**

###  Prices:

1. Price quoted should be **FOR OUTR, Bhubaneswar only.** Tax components as applicable should be mentioned clearly in the financial bid.
2. Price should be quoted for the unit item; however, the actual requirements may be much more. (A bidder may propose to give discounts if any for purchase of more than one unit of a particular item.)
3. Purchase order will be placed as a single lot for each type of item or all the items together, as the case may be.
4. In the case of items of import, the bidder should take full responsibility for customs clearance, handling, tax payment, etc., and specify the charge for the same in the price bid.
	1. **GST Concession:**

GST Concession if any is to be availed on the production of the required certificates applicable to Educational Institution.

* 1. **Discount:**
1. Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and does not run with a profit motive.
2. As such we are availing price discount for the purchase of equipment/instruments.
3. The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item, may also be indicated in the bid specifically.
	1. **Payments:**
	2. In case of imported items, payment will be made by opening LC in the name of the manufacturer subject to the condition that a Bank Guarantee for an equal amount will be submitted by the bidder to OUTR for the period of completion of installation and commissioning. Custom duty will be paid extra as per actual.
	3. In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful installation and commissioning of the equipment subject to submission of satisfactory performance report by the Head of the Department.
	4. **Penalty:**

If the delivery, installation, and commissioning is not carried out in time as specified in another part of the tender document, the bidder/manufacturer will be charged @ 1% (one percent) per week of the total value of the concerned machine/equipment.

* 1. **Rate Contract with DGS&D or any other Government Organisation:**

In case the bidder has entered into a Rate Contract with DGS & D or any other Government Organization such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with tender.

### Instruction to the Bidder:

1. Technical Offer and Price Bids should be separately given in two different covers.
2. Each cover should be earmarked to know the contents within as either ***“Technical Offer” or “Price Offer”***.
3. Both these covers should be placed in a third cover superscribed as **“*Tender for Drives for Department of Electronics and InstrumentationEngineering”.***
4. Some of the minimum specifications specified may be redundant, obsolete, or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology.
5. Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete, or incompatible.
* Otherwise, a model with higher specifications should be in addition to the model with minimum specifications.
1. Specify the brand name and full model name and number for each offer.
2. Include the printed catalog and price list if any for each of the equipment quoted.
3. Specify the list of Accessories required along with each of the equipment.
4. Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.
5. Specify the list of Accessories to be given free of cost, along with the equipment as “**Free Accessories”,** these should be fully compatible with the quoted models.
	1. **Solving Disputes:**
6. OUTR, the bidder and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.
7. All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

***The above terms and conditions except those otherwise agreed upon, shall form a part of the Purchase Order***.

***Sign on each page of this tender document and return it along with the offer enclosing this part together with the Technical Offer.***

***\*\*\* The OUTR authority has all rights to accept/reject any tender without assigning any reasons thereof.***

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

1. **Technical Specifications :**

Following are the minimum specifications of the equipment.

1. The minimum specifications are indicative and not exhaustive.
2. The models with higher specifications may be quoted.
3. The quoted materials should be of the latest trend and technology.
4. The Equipment should be complete in itself without needing any extra requirements except the requirement of general test and measuring instruments.
5. **All bidders qualifying in the technical evaluation may arrange for a demonstration of the equipment.**
6. The demonstration will be held at the **Department of *Electronics and Instrumentation Engineering, OUTR (Formerly College of Engineering & Technology), Techno Campus, P.O.: Mahalaxmivihar, Bhubaneswar – 751029*.**
7. **Financial Bid will be opened only if Tenders must qualify in technical evaluation.**

**List of E*quipment and Instruments with Technical Specifications.***

|  |  |  |
| --- | --- | --- |
| **Sl. No.** | **Name of Equipment/ Instruments** | **Technical Specifications**  |
| **1.** | 60W Fuel cell stack and associated input setup | Type of Fuel Cell- PEM, Number of Cells- 14, Rated Power- 60W, Rated Performance- 8.4V@7.2A, Purging Valve Voltage- 6V, Blower Voltage- 5V, Reactants- Hydrogen and Air, Ambient Temperature- 5 to 30°C, Max. Stack Temperature- 55°C, H2 Pressure- 0.45-0.55 bar, Hydrogen Purity- ≧99.995﹪ dry H2, Humidification- self-humidified, Cooling- Air (integrated cooling fan), Stack weight (with fan & casing)- 280grams(±30grams), Controller weight- 90g, Dimension-80 x 47 x 75mm (3.1 x 1.8 x 3 in), Flow rate at max output\*,-0.42 L/min, Start-up time- ≦30S at ambient temperature, Efficiency of stack- 40% @ full powerMiniature electronic valve, Control Electronics, Integrated fan, and casing.Low-Pressure protection, 60W stack with blower, Double-stage pressure regulator, Inline Pressure regulator, SMPS, Hydrogen supply tubes |

**Odisha University of Technology and Research**

#### (Formerly College of Engineering and Technology, Bhubaneswar)

####  DEPARTMENT OF INSTRUMENTATION AND ELECTRONICS ENGINEERING

#### Techno Campus, P.O. :Mahalaxmivihar

#### Bhubaneswar,Pin-751029

#### www.cet.edu.in

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**TECHNICAL BID**

**(To be enclosed in separate sealed cover)**

Name and address of the bidder:

Note: A DD for EMD and Tender document fee should be enclosed with this bid separately as mentioned in para 5.1 of tender paper

1. Name of the bidder
	1. Full postal address
	2. Full address of the premises
	3. Telegraphic address
	4. Telex number
	5. Telephone number
	6. Fax number
2. Monthly supply capacity of goods quoted for
	1. Normal
	2. Maximum
3. Total Annual turn-over(value in Rupees)(Previous year)

(Copy of Balance Sheet / Audit Statement / IT returns, etc. to be attached as proof)

1. Past supply details for 3 years (Attach proof)
2. Whether similar job work was undertaken in the past if so details.

**Customer** **Quantity supplied** **Year**

1. (Demo of the Lab Equipment to be arranged if required)
2. Bank Details( Bank name, Account no, and IFSC code) in case EMD is returned.
3. GSTIN No.

**Signature and seal of the bidder**

**DEPARTMENT OF INSTRUMENTATION AND ELECTRONICS ENGINEERING**

**Odisha University of Technology and Research**

#### (Formerly College of Engineering and Technology, Bhubaneswar)

#### Techno Campus, P.O. :Mahalaxmivihar

#### Bhubaneswar,Pin-751029

#### www.cet.edu.in

**FINANCIAL BID**

 (To be enclosed in separate sealed cover)

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Sl. No** | **Name of Instruments** | **Make / Model** | **Quantity****Required.** | **Unit Cost** | **Total** | **Taxes Applicable** | **Any Other** | **Total** |
| 1 | 60W Fuel cell stack and associated input setup |  |  |  |  |  |  |  |

 **Signature and seal of the bidder**

# PROFORMA FOR SUBMITTING ELIGIBILITY REQUIREMENTS AND UNDERTAKING

To

The OSD,OUTR

Bhubaneswar

**Sub: Submission of Tender for “Supply, Installation & Commissioning of drives in Departmental laboratory” of the Department of Electronics and Instrumentation Engineering.**

Sir / Madam,

Having examined the conditions of contract and specifications including agenda, I/we, the undersigned, offer to undertake Supply, Installation, Testing & Commissioning of above-mentioned items at Department of Electronics and Instrumentation Engineering, OUTR, Bhubaneswar, in conformity with the specifications, terms & conditions of Tender.

1. I/We agree to abide by the terms and provisions of the said conditions of the contract and provisions contained in the notice inviting tender. I/We hereby unconditionally accept(s) the tender conditions.

It is certified that I/we have not stipulated any condition(s) in our tender offer. In case any condition(s) are found in our tender offer violated after opening tender, I/We agree that the tender shall be rejected without prejudice to any other right or remedy be at liberty to forfeit the EMD absolutely.

1. I/We hereby submit the earnest money of [INR…………..……….……] for the Tender for the above-mentioned work in the form of a demand draft.
2. That, I/We declare that I/We have not paid and shall not pay any bribe to any officer of the institution for awarding this contract at any stage during its execution or at the time of payment of bills, and further if any officer of OUTR asks for bribe/gratification, I/We shall immediately report it to the OUTR authorities.
3. That, I/We undertake that OUTR tender document shall form part of the contract agreement.

I/We understand that you are not bound to accept the lowest or any bid, you shall receive.

Thanking you

 Yours faithfully

Dated:

Signature of Bidder

 Name: ……………………

Telephone:………………. Witness…...................

Signature....................

Address......................

Enclosures :