ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

(Formerly College of Engineering & Technology, Bhubaneswar)

Techno Campus, Mahalaxmi Vihar, Bhubaneswar –29

No. 293 / OUTR		                                            Date:   10 /  02  / 2022

Tender Call Notice

Sealed Tenders are invited from reputed Original Manufacturers / Authorized Dealers, for supply, installations and testing of UV VIS NIR Spectrophotometer to Department of Chemistry of the college, details of which are available in the tender papers. The tenderers must possess valid up-to-date GST /income tax clearance etc. The last date of submission of tender is 8.03.2022 (up to 1 PM) and will be opened on the same date at 3.00 PM. The sealed tender will be received by Speed Post/Registered Post only. Tender received after the scheduled date and time will not be considered. The authority is not responsible for any postal delay. The authority reserves the right to cancel the bids without assigning any reason thereof. More details are available at our college website www.cet.edu.in.

Sd/-							                                                                                          Officer on Special Duty

BID PARTICULARS AND INSTRUCTIONS OF TENDER NOTICE

FOR

SUPPLY, INSTALLATIONS AND TESTING OF UV VIS NIR SPECTROPHOTOMETER FOR

DEPARTMENT OF CHEMISTRY

ODISHA UNIVERSITY OF TECHNOLOGY AND RESEARCH

(Formerly College of Engineering & Technology, Bhubaneswar)

Techno Campus, Mahalaxmi Vihar, Bhubaneswar –29

DETAILED PARTICULARS AND INSTRUCTIONS ON TENDER

FOR

| 1. | Tender Opening | 8.03.2022 at 3.00 PM |
| --- | --- | --- |

#### Purchase of UV VIS NIR Spectrophotometer with their installations and testing

FOR

Department of Chemistry

Odisha University of Technology and Research,

Bhubaneswar – 751029, Orissa

#### Sealed Tenders are invited from reputed Original Manufacturers /Authorised Dealers, for supply, installations and testing of UV VIS NIR Spectrophotometer for the Department of Chemistry, Odisha University of Technology and Research, Techno Campus, Mahalaxmi Vihar, Bhubaneswar – 751029, Orissa.

### Scheduled Tender Activity:

| Sl. No. | Activity |  | Date |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 2 | Due date for tender Last Date of Tender Document Submission |  | 10.02.2022 8.03.2022 up to 1.00PM |  |  |
| 3. | Tender Opening |  | 8.03.2022 at 3.00 PM |  |  |
| Items |  | EMD (in Rupees) |  | Cost of Tender Document (in Rupees) | Period of complete Delivery, Installation and Commissioning |
| UV VIS NIR Spectrophotometer |  | See under clause no. 5.1 of this tender |  | Rs.1000/ | 6 weeks/120 days |

Commercial bid & Technical bid must be enclosed separately.

The Tender documents can also be downloaded from our website www.cet.edu.in and the tenderer has to submit a separate draft of Rs.1000.00 + GST as applicable (in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalised Bank towards tender paper cost ) along with submitted tender, otherwise the offer submitted by the tenderer will be cancelled.

### Eligibility of Tenderer and General Instructions:

### Eligibility:

Those who fulfill the following criteria are eligible to participate in the tender.

- The tenderer must be a reputed original manufacturer and/or the Authorised Dealers of a reputed manufacturer. Manufacturers should provide all documents relating to their Manufacturing Capabilities.

- If the tenderer is an Authorised Dealers of a reputed manufacturer, necessary certificate to this effect from the manufacturer must be enclosed.

- The tenderer must provide evidence of successful supply orders of UV VIS NIR Spectrophotometer with installations and successful after sales support in reputed government/public sector organizations.

- The tenderer must have cleared Sales Tax and Income Tax payment up- to- date. Attested copies of Sales Tax Clearance Certificate or non-assessment certificate from the concerned Sales Tax Authority valid up- to-date and attested copy of Income Tax Clearance Certificate or non-assessment certificate, GST certificates from the competent authority, PAN Number must be enclosed along with the Tender documents.

### General Instructions:

The tenderers who are the Original Manufacturers / Authorised Dealers of the product must be manufacturing the complete product, selling under the specified brand name and models are the eligible participants.

The tenders will be opened on 8.03.2022 at 3.00 PM in presence of the tenderers or their authorized representatives. Authorized representatives will be required to produce their authorization before opening of the bid, failing which they will not be allowed to be present.

Submission of more than one bid by a particular tenderer under different names is strictly prohibited. In case it is discovered later on that, this condition is violated, all the tenders submitted by such tenderer/s would be rejected or contract cancelled and earnest money deposited will be forfeited.

All offers should be typed or printed clearly in English and the price quoted for each item should be firm.

Warranty period, Delivery period and After-Sale-Service conditions, etc. are also to be clearly indicated.

The bidder shall submit the cliental list of IITs/NITs/NISERs/IISERs/IMMT/ILS, preferably at Odisha, where these instruments are supplied and working satisfactorily.

These instruments must be referred in at least TWO journal papers each from American Chemical Society and Royal Society of Chemistry or four from any one of these two.

The rates and the conditions of the offer will remain valid for three months from the date of opening of the tender and no change or alteration of the rate will be acceptable on any account.

Submitted tender forms with overwriting or erased or illegible specifications and rates will be rejected.

Request from tenderer in respect of additions, alterations, modifications, corrections, etc. of either terms & conditions or rate after opening of the bid may not be considered. However, negotiation may be made before finalization.

Tenderers shall carefully examine the bid documents and fully inform themselves of all the conditions, which may in any way affect the work of the cost thereof.

Should a tenderer find discrepancies or omissions from the specification or other documents and any doubt as to their meaning, the tenderer should at once notify the purchaser and obtain clarification in writing.

This, however, does not entitle the tenderer to ask for time beyond the due date fixed for receipt of tenders.

The tenderer must also specify minimum time and maximum time to repair/replace in the event of a failure and penalty thereof.

Verbal clarification and/or information given by the purchaser or its employees or representatives shall not be binding on the purchaser.

Submission of sealed bid will carry with the implication that the tenderer agrees to abide by the conditions laid down in the detailed particulars of the bid notice.

Conditional offers and offers qualified by vague and indefinite expression, as ‘subject to immediate acceptance’, ‘subject to prior sale’, etc. will not be considered.

While tenders are under consideration, tenderers and their representatives or other interested parties are advised to refrain from contacting by any means, to the purchaser's personnel or representatives on matter relating to the tenders under study.

The purchaser, if necessary, will obtain clarification on tenders by requesting such information from any or all the tenderers either in writing or through personal contact as may be necessary.

The quantity mentioned against each item is approximate but it may change during finalization.

The bid will be considered on turnkey basis i.e. cost of all items, installations and testing together and fulfilling the technical specifications mentioned in this tender.  The bid will not be considered on individual item basis.

The tenderer will not be permitted to change the substance of his offer after the tenders have been opened.

In the event of non-compliance with this provision, the tenderer is liable to be disqualified.

### Submission of Tenders:

#### The sealed envelope must show the name of the tenderer and his address and should be superscribed as “Tender for UV VIS NIR Spectrophotometer for Department of Chemistry” on the top of the envelope.

All the documents submitted must be in the papers showing signature of the tenderer and printed office name of the tenderer on official seal.

All the documents must be submitted in a sequential manner with separator/flags to help in quick scanning of the topics.

The tenders should be submitted at the office of the Officer on Special Duty, Odisha University of Technology and Research, Techno Campus, Mahalaxmi Vihar, Bhubaneswar – 751029, Odisha.

The sealed tender will be received by Speed Post/Registered Post only and addressed to the Officer on Special Duty, Odisha University of Technology and Research superscribed as “Tender for UV-VIS NIR spectrophotometer for Department of Chemistry”. No hand delivery or courier is acceptable.

### Requirements by Tenderer before Supply:

### Rating Plate, Name Plate and Labels:

The name of the manufacturer etc must be displayed on the instrument..

### Packaging:

The instrument is to be suitably protected, covered in water–proof  packing and crated to prevent damage or deterioration during transit and storage till the time of supply/installation. The supplier shall be responsible for any loss or damage caused during transportation, handling or storage till their successful installation.

### Inspection:

The instrument shall be inspected and tested for completeness, proper assembly, operation, cleanliness and state of physical condition and performance as per quoted specification.

The test shall be conducted, reported and certifications to provided by the tenderer.

The tenderer shall provide all tests and measuring these two instruments required for inspection/testing.

The cost of all such tests shall be borne by the Tenderer.

OUTR reserves the right to reject any instrument if these do not comply with the specifications during site testing, installation and commissioning stage.

### Environmental Condition:

The instrument supplied shall be rugged and should operate without any deviation in quality, or degradation of UV VIS NIR Spectrophotometer performance. All the specification/parameters shall be guaranteed over the following environmental conditions:

*	Storage Temperature 		0 to 70 degree Celsius

*	Operating Temperature 	As per standard temp. in chemistry lab.

*	Humidity			95% RH (non-condensing)

The UV VIS NIR Spectrophotometer is intended to be used in the chemistry laboratories/department.

### Requirements by Tenderer after Supply:

### Supply:

The instruments would be delivered by the supplier at Odisha University of Technology and Research, Techno Campus, Mahalaxmi Vihar, Bhubaneswar – 751029, Odisha and perform the installations and testing at his own cost.

The items should be supplied directly from the manufacturing terminal having passed all tests successfully with Certifications as required.

The instrument should conform to the latest relevant National/International standards and shall be completed in all respect.

Any component, fitting etc. which may not have been specifically mentioned in the specifications but which are usual and necessary for the UV VIS NIR Spectrophotometer with installations and testing shall be supplied by the tenderer at no extra cost.

In case, articles are found damaged in transit or found short at the time of delivery the full cost of the same will be deducted from the bill of the supplier in case the supplier does not replace the stock within a week from the date of lodging the complain.

The articles ordered must be supplied in one lot within 6 (SIX) weeks (for Indian UV VIS NIR Spectrophotometer or 120 days for foreign manufacturers) of placing of the purchase order.

In case of delay in delivery or successful installation, a penalty of 1% (one per cent) per week shall be levied.

OUTR reserves the right to procure the materials from alternative sources at the risk and cost of the successful tenderer giving 15 days notice.

Any increase in tax and duties after expiry of delivery period will be to the seller’s account.

In case the items supplied by the supplier are found not up to the specification shall be rejected. The supplier will be intimated to take back the stocks at his own cost within three days from the date of rejection and to replace the same within 7 days, failing which the EMD will be invoked in addition to taking legal actions.

The suppliers shall be responsible for releasing the consignments from the carriers/transporters.

The UV VIS NIR Spectrophotometer shall be delivered at site at the cost of the tenderer.

All taxes, levies, surcharges, handling freight and insurance, if any, should be paid and handled by the tenderer.

### Installation and Commissioning:

Installation and Commissioning shall include the following:

- It will be the responsibility of the tenderer to provide all necessary spares and consumables, which may be required during installation and commissioning, at no extra cost to OUTR.

- The tenderer is to bring their own testing and measuring instruments required for installation, testing, commissioning, which can be taken back after completion.

- Installation, if any, must complete within a week after delivery on site.

### Documentation:

If necessary, detailed technical manuals, handbooks, drawings, Warranty card and Factory Quality Assurance checklist, test results and any other certifications mentioned in the Technical specifications shall be supplied along with the consignment.

Supplied manuals/handbooks must cover detailed technical specifications and installation, operation, maintenance and System Safety procedures.

### Financial Terms:

  - EMD

The tenderer has to submit a Demand Draft/Banker’s Cheque/Pay Order/Bank Quarantee in favour of Principal, College of Engineering and Technology payable at Bhubaneswar in any Nationalised towards EMD instrument-wise as follows:

| Sl No. | Name of the instruments | EMD amount (Rs.) |
| --- | --- | --- |
| 1 | UV VIS NIR Spectrophotometer | Rs.13,000/- |

The total EMD amount is to be paid through one Demand Draft/Banker’s Cheque/Pay Order/Bank Guarantee.

There will be no interest paid to the tenderer towards EMD money opening of the bid.

No request for adjustment of claims, if any, will be accepted.

The EMD of unsuccessful tenderers will be refunded as soon as possible after the tenders are finalized.

No one should submit a tender who is unable to furnish the EMD as indicated above and supply the instrument within the specified period as indicated in the indent/order issued for the quantities decided in his favour.

  - PRICES:

Price quoted should be FOR Bhubaneswar only.

Price should be quoted for unit item; however, the actual requirements may be much more. The tentative numbers of items required are given which may vary (increase/decrease) after words as per requirement. (A tenderer may propose to give discounts if any for purchase of more than one unit of a particular item.). The bid will be considered on turnkey basis i.e. cost of all items, installations and testing together.

For payment in foreign currency, it should be through LC and as per norms. The bidder has to take the responsibility of clearing the instruments from airports and deliver at our university at no extra cost. However, the excise/custom duty or taxes etc. as applicable to the government academic institutions will be paid by the university.

  - Sales Tax Concession:

Central Sales Tax Concession is to be availed on production of the required certificates applicable to Educational Institution.

  - Discount:

Our Institute is a pioneer Institution in the field of Teaching and Research in Engineering and allied disciplines and do not run with profit motive.

As such we are availing price discount for purchase of UV VIS NIR Spectrophotometer.

The rate of discount or any other Institutional benefit arising out of Govt. Policy etc., on each item may also be indicated in the bid specifically.

  - Payments:

In case of purchase in Indian Rupees, payment of 100 percent of the ordered value will be made after successful supply, installations and testing of the UV VIS NIR Spectrophotometer subject to submission of satisfactory performance report by our Professor-in-Charge or through LC for foreign currency.

  - Penalty:

If the delivery is not carried out in time as specified in other part of the tender document, the tenderer/manufacturer will be charged @ 1% (one per cent) per week of the total value of the concerned instruments.

  - Rate Contract with DGS&D or any other Government Organisation:

In case the tenderer has entered into a Rate Contract with GeM or any other Government Organisation such as EPM, rate contract preference, number & copy of rate contract have to be submitted along with tender.

### Technical Specifications:

The list of technical specifications for UV VIS NIR Spectrophotometer is as follows:

Computer controlled double beam, dual grating, dual detector, single Monochromator compact UV VIS NIR Spectrophotometer with necessary softwares and operated through Window 10.0.

The instrument should have facility for automatic accessory recognition. spectrophotometer must have high data collection facility (minimum 30000 points/min) for high resolution and peak sharpness with below specification.

Technical Specifications:

| Wavelength Range: | 190 - 2700 nm or higher |
| --- | --- |
| Wavelength Resolution | UV-VIS region: +/-0.3 nm or better NIR region: +/-1.5 nm or better |
| Wavelength repeatability | UV-Vis :+/-0.05 nm, NIR: +/-0.2 nm |
| Optics: | Double beam type, Dual grating, dual detector UV/VIS region: 1200 lines/ mm or better NIR region: 300 lines/ mm or better |
| Spectral Bandwidth: | 0.1, 0.2, 0.5, 1, 2, 5, 10 nm in UV-VIS range or better 0.4, 0.8, 1, 2, 4, 8, 20, 40 nm in NIR range or better Low Stray light mode, Micro cell mode |
| Slew Rate: | 12000 nm/min or better |
| Scan Mode: | Continuous Scan and Step Scan |
| Light Source: | Deuterium and Halogen Lamp |
| RMS Noise : | 0.00003 Abs or better |
| Photometric Range | -3 ABS to 4 Abs or better |
| Detector: | Dual Detector - PMT in UV-VIS region and Peltier thermostatted PbS in NIR region |
| Sampling System: | Standard Liquid Cell with optical path length 10mm with temperature control accuracy +0.0.10C. Reflectance measurement optional by Integrating Sphere attachment Attachments with solid, thin filom and powder sample holders |
| Inside dia of Integrating Sphere | 60 mm |
| Peltier cell holder | Heating radiating system: Air-cooled Temp. setting range: 5 - 70° C Stirrer system: Integrated variable speed magnetic stirrer Temp. accuracy: ±0.5° C (20 - 40 o C) and ±1 o C (other temp. range) |
| Instrument Control: | By computer through USB port |
| Software: | - Spectrum Measurement - Spectral Analysis - Multiple Instrument Control - System Validation - Self Diagnostic Routines - Enzyme Activity Analysis and upgradeable to Color and Bad Gap Analysis & Film thickness Measurement etc. |
| With standard accessories | - Quartz Cuvette : 1 Pair - Holmium Glass- 1 no - Certificate of Inspection, Software in CD-1 no. - Fuse, Instruction Manual, Screw Driver- 1 each, - USB cable, Power Cable- 1 each |

This instrument is to be installed at the site decided by the Department of Chemistry.

### Instruction to the Tenderer:

  - Instructions to Offer Technical and Price Bids Separately:

Technical Offer (Annexure-I) and Price Bid (Annexure-II) should be separately given in two different covers.

Each cover should be earmarked as to know the contents within as either “Technical Offer” or “Price Offer”.

Both these covers should be placed in a third cover superscribed as “Tender for UV VIS NIR Spectrophotometer for Department of Chemistry”.

Some of the minimum specifications specified may be redundant, obsolete or incompatible and in these cases, quote the particulars of correct specification of latest trend and technology. Higher specifications instead of minimum specifications are allowed if a minimum specification is not available, obsolete or incompatible. Otherwise, model with higher specification should be in addition to the model with minimum specifications.

Specify brand name and full model name and catalogue number for each offer. Include the printed catalogue and price list if any for each of the instrument quoted.

Specify the list of Accessories required along with each of the UV VIS NIR Spectrophotometer.

Quote the additional price of the accessories; only those, which are fully compatible with the quoted model, should be furnished.

Specify the list of Accessories to be given free of cost, along with the UV VIS NIR Spectrophotometer as “Free Accessories”; these should be fully compatible with the quoted models.

  - Solving Disputes:

OUTR, the tenderer and the manufacturer shall make all efforts to resolve amicably by direct informal negotiation on any disagreement or dispute arising between them under or in connection with this contract.

All disputes arising out of the contract shall be referred to courts under the jurisdiction of the Bhubaneswar court only.

The OUTR authority has all rights to accept/reject any tender without assigning any reasons thereof.

NB: (i) The above terms and conditions except those otherwise agreed upon shall form a part of the Purchase Order.

(ii) Sign on each page of this tender document and return it along with the offer enclosing this part together with the technical offer.

Annexure-I

(in the letter head of the bidder)

TECHNICAL BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail			:

Mobile no.		:

5.	Tender paper cost deposited		: Yes /No (tick one)

If yes, give details			:

6.	EMD deposited			: Yes/ No (tick one)

If yes, give details			:

7.	Registration of the firm		: (submit the documentary proof)

8.	Tax Clearance up to			 :

Name of the document(s) submitted	: (submit the documentary proof)

9.	TIN/PAN				:

10.	GST/GSTIN as applicable		: (submit the documentary proof)

10.	Manufacturer’s Authorisation		: (submit the documentary proof)

11.	Turnover for the last three year	:

(Enclose the CA certified audited statements showing turn over for last three years)

12.	Clientele list

13.	Journal papers ( 2 each from ACS or RSC publications or 4 from any one)(attach the complete paper)

14.	Any other document etc. submitted	:

15.	Technical details for UV VIS NIR Spectrophotometer

| Wavelength Range: | 190 - 2700 nm or higher |
| --- | --- |
| Wavelength Resolution | UV-VIS region: +/-0.3 nm or better NIR region: +/-1.5 nm or better |
| Wavelength repeatability | UV-Vis :+/-0.05 nm, NIR: +/-0.2 nm |
| Optics: | Double beam type, Dual grating, dual detector UV/VIS region: 1200 lines/ mm or better NIR region: 300 lines/ mm or better |
| Spectral Bandwidth: | 0.1, 0.2, 0.5, 1, 2, 5, 10 nm in UV-VIS range or better 0.4, 0.8, 1, 2, 4, 8, 20, 40 nm in NIR range or better Low Stray light mode, Micro cell mode |
| Slew Rate: | 12000 nm/min or better |
| Scan Mode: | Continuous Scan and Step Scan |
| Light Source: | Deuterium and Halogen Lamp |
| RMS Noise : | 0.00003 Abs or better |
| Photometric Range | -3 ABS to 4 Abs or better |
| Detector: | Dual Detector - PMT in UV-VIS region and Peltier thermostatted PbS in NIR region |
| Sampling System: | Standard Liquid Cell with optical path length 10mm with temperature control accuracy +0.0.10C. Reflectance measurement optional by Integrating Sphere attachment Attachments with solid, thin filom and powder sample holders |
| Inside dia of Integrating Sphere | 60 mm |
| Peltier cell holder | Heating radiating system: Air-cooled Temp. setting range: 5 - 70° C Stirrer system: Integrated variable speed magnetic stirrer Temp. accuracy: ±0.5° C (20 - 40 o C) and ±1 o C (other temp. range) |
| Instrument Control: | By computer through USB port |
| Software: | - Spectrum Measurement - Spectral Analysis - Multiple Instrument Control - System Validation - Self Diagnostic Routines - Enzyme Activity Analysis and upgradeable to Color and Bad Gap Analysis & Film thickness Measurement etc. |
| With standard accessories | - Quartz Cuvette : 1 Pair - Holmium Glass- 1 no - Certificate of Inspection, Software in CD-1 no. - Fuse, Instruction Manual, Screw Driver- 1 each, - USB cable, Power Cable- 1 each |

Date:

Place:						Signature of the authorized person & seal

Annexure-II

(in the letter head of the bidder)

PRICE BID

1.	Name of the Firm			:

2.	Official Address			:

3.	Contact person with designation	:

4.	Contact Info:  e-mail	& Mobile no.	:

5.	Tax Clearance up to			 :

6.	TIN/PAN				:

7.	Rate of UV VIS NIR Spectrophotometer: The cost should be inclusive of supply (at OUTR Bhubaneswar), installations and testing of these items.

IMP: 	(i) UV VIS NIR Spectrophotometer must be of as per the specifications.

(ii) Price bid will not be considered for any particular item if make of it is not mentioned.

(iii) Quantity required are approximate which may change during finalization.

| Sl. No. | Name of the items with technical specifications | Qty Reqd. (approx.) | Make & catalogue number | Detail technical specifications(tick) | Rate per unit item * | Total amount * |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Wavelength Range:; 190 - 2700 nm or higher. Wavelength Resolution; UV-VIS region: +/-0.3 nm or better NIR region: +/-1.5 nm or better. Wavelength repeatability; UV-Vis :+/-0.05 nm, NIR: +/-0.2 nm. Optics:; Double beam type, Dual grating, dual detector UV/VIS region: 1200 lines/ mm or better NIR region: 300 lines/ mm or better. Spectral Bandwidth:; 0.1, 0.2, 0.5, 1, 2, 5, 10 nm in UV-VIS range or better 0.4, 0.8, 1, 2, 4, 8, 20, 40 nm in NIR range or better Low Stray light mode, Micro cell mode. Slew Rate:; 12000 nm/min or better. Scan Mode:; Continuous Scan and Step Scan. Light Source:; Deuterium and Halogen Lamp. RMS Noise :; 0.00003 Abs or better. Photometric Range; -3 ABS to 4 Abs or better. Detector:; Dual Detector - PMT in UV-VIS region and Peltier thermostatted PbS in NIR region. Sampling System:; Standard Liquid Cell with optical path length 10mm with temperature control accuracy +0.0.10C. Reflectance measurement optional by Integrating Sphere attachment Attachments with solid, thin filom and powder sample holders. Inside dia of Integrating Sphere; 60 mm. Peltier cell holder; Heating radiating system: Air-cooled Temp. setting range: 5 - 70° C Stirrer system: Integrated variable speed magnetic stirrer Temp. accuracy: ±0.5° C (20 - 40 o C) and ±1 o C (other temp. range). Instrument Control:; By computer through USB port. Software:; - Spectrum Measurement - Spectral Analysis - Multiple Instrument Control - System Validation - Self Diagnostic Routines - Enzyme Activity Analysis and upgradeable to Color and Bad Gap Analysis & Film thickness Measurement etc.. With standard accessories; - Quartz Cuvette : 1 Pair - Holmium Glass- 1 no - Certificate of Inspection, Software in CD-1 no. - Fuse, Instruction Manual, Screw Driver- 1 each, - USB cable, Power Cable- 1 each. | 01 no. |  |  |  |  |

            - For foreign currency, it will be paid through LC as per standard norms. The bidder or its agency will clear the foreign consignments from the airport and deliver at OUTR, Bhubaneswar. Necessary documents and custom duty or clearing duties will be paid as per actual by OUTR, Bhubaneswar.

Date:

Place:						Signature of the authorized person & seal